## ev_charging_uc
ts_01 | day_night | ts_01
| D | AaH
| N | AaH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AaH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AaH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_01 | season | weekly | daynite | wparent | dparent
| A | a | H | A | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_IND_001 | AaH | 1 | IMPNRGZ | elc_won_IND_001 | AaH | 1 | IMPNRGZ | elc_wof_IND_001 | AaH | 1 | IMPNRGZ
elc_spv_IND_002 | AaH | 1 | IMPNRGZ | elc_won_IND_002 | AaH | 1 | IMPNRGZ | elc_wof_IND_002 | AaH | 1 | IMPNRGZ
elc_spv_IND_003 | AaH | 1 | IMPNRGZ | elc_won_IND_003 | AaH | 1 | IMPNRGZ | elc_wof_IND_003 | AaH | 1 | IMPNRGZ
elc_spv_IND_004 | AaH | 1 | IMPNRGZ | elc_won_IND_004 | AaH | 1 | IMPNRGZ | elc_wof_IND_004 | AaH | 1 | IMPNRGZ
elc_spv_IND_005 | AaH | 1 | IMPNRGZ | elc_won_IND_005 | AaH | 1 | IMPNRGZ | elc_wof_IND_005 | AaH | 1 | IMPNRGZ
elc_spv_IND_006 | AaH | 1 | IMPNRGZ | elc_won_IND_006 | AaH | 1 | IMPNRGZ | elc_wof_IND_006 | AaH | 1 | IMPNRGZ
elc_spv_IND_007 | AaH | 1 | IMPNRGZ | elc_won_IND_007 | AaH | 1 | IMPNRGZ | elc_wof_IND_007 | AaH | 1 | IMPNRGZ
elc_spv_IND_008 | AaH | 1 | IMPNRGZ | elc_won_IND_008 | AaH | 1 | IMPNRGZ | elc_wof_IND_008 | AaH | 1 | IMPNRGZ
elc_spv_IND_009 | AaH | 1 | IMPNRGZ | elc_won_IND_009 | AaH | 1 | IMPNRGZ | elc_wof_IND_009 | AaH | 1 | IMPNRGZ
elc_spv_IND_010 | AaH | 1 | IMPNRGZ | elc_won_IND_010 | AaH | 1 | IMPNRGZ | elc_wof_IND_010 | AaH | 1 | IMPNRGZ
elc_spv_IND_011 | AaH | 1 | IMPNRGZ | elc_won_IND_011 | AaH | 1 | IMPNRGZ | elc_wof_IND_011 | AaH | 1 | IMPNRGZ
elc_spv_IND_012 | AaH | 1 | IMPNRGZ | elc_won_IND_012 | AaH | 1 | IMPNRGZ | elc_wof_IND_012 | AaH | 1 | IMPNRGZ
elc_spv_IND_013 | AaH | 1 | IMPNRGZ | elc_won_IND_013 | AaH | 1 | IMPNRGZ | elc_wof_IND_013 | AaH | 1 | IMPNRGZ
elc_spv_IND_014 | AaH | 1 | IMPNRGZ | elc_won_IND_014 | AaH | 1 | IMPNRGZ | elc_wof_IND_014 | AaH | 1 | IMPNRGZ
elc_spv_IND_015 | AaH | 1 | IMPNRGZ | elc_won_IND_015 | AaH | 1 | IMPNRGZ | elc_wof_IND_015 | AaH | 1 | IMPNRGZ
elc_spv_IND_016 | AaH | 1 | IMPNRGZ | elc_won_IND_016 | AaH | 1 | IMPNRGZ | elc_wof_IND_016 | AaH | 1 | IMPNRGZ
elc_spv_IND_017 | AaH | 1 | IMPNRGZ | elc_won_IND_017 | AaH | 1 | IMPNRGZ | elc_wof_IND_017 | AaH | 1 | IMPNRGZ
elc_spv_IND_018 | AaH | 1 | IMPNRGZ | elc_won_IND_018 | AaH | 1 | IMPNRGZ | elc_wof_IND_018 | AaH | 1 | IMPNRGZ
elc_spv_IND_019 | AaH | 1 | IMPNRGZ | elc_won_IND_019 | AaH | 1 | IMPNRGZ | elc_wof_IND_019 | AaH | 1 | IMPNRGZ
elc_spv_IND_020 | AaH | 1 | IMPNRGZ | elc_won_IND_020 | AaH | 1 | IMPNRGZ | elc_wof_IND_020 | AaH | 1 | IMPNRGZ
elc_spv_IND_021 | AaH | 1 | IMPNRGZ | elc_won_IND_021 | AaH | 1 | IMPNRGZ | elc_wof_IND_021 | AaH | 1 | IMPNRGZ
elc_spv_IND_022 | AaH | 1 | IMPNRGZ | elc_won_IND_022 | AaH | 1 | IMPNRGZ | elc_wof_IND_022 | AaH | 1 | IMPNRGZ
elc_spv_IND_023 | AaH | 1 | IMPNRGZ | elc_won_IND_023 | AaH | 1 | IMPNRGZ | elc_wof_IND_023 | AaH | 1 | IMPNRGZ
elc_spv_IND_024 | AaH | 1 | IMPNRGZ | elc_won_IND_024 | AaH | 1 | IMPNRGZ | elc_wof_IND_024 | AaH | 1 | IMPNRGZ
elc_spv_IND_025 | AaH | 1 | IMPNRGZ | elc_won_IND_025 | AaH | 1 | IMPNRGZ
elc_spv_IND_026 | AaH | 1 | IMPNRGZ | elc_won_IND_026 | AaH | 1 | IMPNRGZ
elc_spv_IND_027 | AaH | 1 | IMPNRGZ | elc_won_IND_027 | AaH | 1 | IMPNRGZ
elc_spv_IND_028 | AaH | 1 | IMPNRGZ | elc_won_IND_028 | AaH | 1 | IMPNRGZ
elc_spv_IND_029 | AaH | 1 | IMPNRGZ | elc_won_IND_029 | AaH | 1 | IMPNRGZ
elc_spv_IND_030 | AaH | 1 | IMPNRGZ | elc_won_IND_030 | AaH | 1 | IMPNRGZ
elc_spv_IND_031 | AaH | 1 | IMPNRGZ | elc_won_IND_031 | AaH | 1 | IMPNRGZ
elc_spv_IND_032 | AaH | 1 | IMPNRGZ | elc_won_IND_032 | AaH | 1 | IMPNRGZ
elc_spv_IND_033 | AaH | 1 | IMPNRGZ | elc_won_IND_033 | AaH | 1 | IMPNRGZ
elc_spv_IND_034 | AaH | 1 | IMPNRGZ | elc_won_IND_034 | AaH | 1 | IMPNRGZ
elc_spv_IND_035 | AaH | 1 | IMPNRGZ | elc_won_IND_035 | AaH | 1 | IMPNRGZ
elc_spv_IND_036 | AaH | 1 | IMPNRGZ | elc_won_IND_036 | AaH | 1 | IMPNRGZ
elc_spv_IND_037 | AaH | 1 | IMPNRGZ | elc_won_IND_037 | AaH | 1 | IMPNRGZ
elc_spv_IND_038 | AaH | 1 | IMPNRGZ | elc_won_IND_038 | AaH | 1 | IMPNRGZ
elc_spv_IND_039 | AaH | 1 | IMPNRGZ | elc_won_IND_039 | AaH | 1 | IMPNRGZ
elc_spv_IND_040 | AaH | 1 | IMPNRGZ | elc_won_IND_040 | AaH | 1 | IMPNRGZ
elc_spv_IND_041 | AaH | 1 | IMPNRGZ | elc_won_IND_041 | AaH | 1 | IMPNRGZ
elc_spv_IND_042 | AaH | 1 | IMPNRGZ | elc_won_IND_042 | AaH | 1 | IMPNRGZ
elc_spv_IND_043 | AaH | 1 | IMPNRGZ | elc_won_IND_043 | AaH | 1 | IMPNRGZ
elc_spv_IND_044 | AaH | 1 | IMPNRGZ | elc_won_IND_044 | AaH | 1 | IMPNRGZ
elc_spv_IND_045 | AaH | 1 | IMPNRGZ | elc_won_IND_045 | AaH | 1 | IMPNRGZ
elc_spv_IND_046 | AaH | 1 | IMPNRGZ | elc_won_IND_046 | AaH | 1 | IMPNRGZ
elc_spv_IND_047 | AaH | 1 | IMPNRGZ | elc_won_IND_047 | AaH | 1 | IMPNRGZ
elc_spv_IND_048 | AaH | 1 | IMPNRGZ | elc_won_IND_048 | AaH | 1 | IMPNRGZ
elc_spv_IND_049 | AaH | 1 | IMPNRGZ | elc_won_IND_049 | AaH | 1 | IMPNRGZ
elc_spv_IND_050 | AaH | 1 | IMPNRGZ | elc_won_IND_050 | AaH | 1 | IMPNRGZ
elc_spv_IND_051 | AaH | 1 | IMPNRGZ | elc_won_IND_051 | AaH | 1 | IMPNRGZ
elc_spv_IND_052 | AaH | 1 | IMPNRGZ | elc_won_IND_052 | AaH | 1 | IMPNRGZ
elc_spv_IND_053 | AaH | 1 | IMPNRGZ | elc_won_IND_053 | AaH | 1 | IMPNRGZ
elc_spv_IND_054 | AaH | 1 | IMPNRGZ | elc_won_IND_054 | AaH | 1 | IMPNRGZ
elc_spv_IND_055 | AaH | 1 | IMPNRGZ | elc_won_IND_055 | AaH | 1 | IMPNRGZ
elc_spv_IND_056 | AaH | 1 | IMPNRGZ | elc_won_IND_056 | AaH | 1 | IMPNRGZ
elc_spv_IND_057 | AaH | 1 | IMPNRGZ | elc_won_IND_057 | AaH | 1 | IMPNRGZ
elc_spv_IND_058 | AaH | 1 | IMPNRGZ | elc_won_IND_058 | AaH | 1 | IMPNRGZ
elc_spv_IND_059 | AaH | 1 | IMPNRGZ | elc_won_IND_059 | AaH | 1 | IMPNRGZ
elc_spv_IND_060 | AaH | 1 | IMPNRGZ | elc_won_IND_060 | AaH | 1 | IMPNRGZ
elc_spv_IND_061 | AaH | 1 | IMPNRGZ | elc_won_IND_061 | AaH | 1 | IMPNRGZ
elc_spv_IND_062 | AaH | 1 | IMPNRGZ | elc_won_IND_062 | AaH | 1 | IMPNRGZ
elc_spv_IND_063 | AaH | 1 | IMPNRGZ | elc_won_IND_063 | AaH | 1 | IMPNRGZ
elc_spv_IND_064 | AaH | 1 | IMPNRGZ | elc_won_IND_064 | AaH | 1 | IMPNRGZ
elc_spv_IND_065 | AaH | 1 | IMPNRGZ | elc_won_IND_065 | AaH | 1 | IMPNRGZ
elc_spv_IND_066 | AaH | 1 | IMPNRGZ | elc_won_IND_066 | AaH | 1 | IMPNRGZ
elc_spv_IND_067 | AaH | 1 | IMPNRGZ
elc_spv_IND_068 | AaH | 1 | IMPNRGZ
elc_spv_IND_069 | AaH | 1 | IMPNRGZ
elc_spv_IND_070 | AaH | 1 | IMPNRGZ
elc_spv_IND_071 | AaH | 1 | IMPNRGZ
elc_spv_IND_072 | AaH | 1 | IMPNRGZ
elc_spv_IND_073 | AaH | 1 | IMPNRGZ
elc_spv_IND_074 | AaH | 1 | IMPNRGZ
elc_spv_IND_075 | AaH | 1 | IMPNRGZ
elc_spv_IND_076 | AaH | 1 | IMPNRGZ
elc_spv_IND_077 | AaH | 1 | IMPNRGZ
elc_spv_IND_078 | AaH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_DINS-AT
process | commodity | AaH | process | commodity | AaH | process | commodity | AaH | process | AaH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_IND_001 | DEF_E | 0.59172 | distr_sol* | ELC4H | 0.22467 | distr_sol* | ELC8H | 0.15479 | distr_solelc_spv_IND_001 | 0.14921 | distr_solelc_spv_IND_001 | DEF_C | OUT | 0.14921
distr_solelc_spv_IND_002 | DEF_E | 0.59002 | distr_won* | ELC4H | 0.0062212 | distr_won* | ELC8H | 0.011618 | distr_solelc_spv_IND_002 | 0.15499 | distr_solelc_spv_IND_002 | DEF_C | OUT | 0.15499
distr_solelc_spv_IND_003 | DEF_E | 0.58875 | distr_wof* | ELC4H | 0.00071809 | distr_wof* | ELC8H | 0.0025571 | distr_solelc_spv_IND_003 | 0.15433 | distr_solelc_spv_IND_003 | DEF_C | OUT | 0.15433
distr_solelc_spv_IND_004 | DEF_E | 0.58469 | [6 empty] | distr_solelc_spv_IND_004 | 0.14797 | distr_solelc_spv_IND_004 | DEF_C | OUT | 0.14797
distr_solelc_spv_IND_005 | DEF_E | 0.58781 | [6 empty] | distr_solelc_spv_IND_005 | 0.1563 | distr_solelc_spv_IND_005 | DEF_C | OUT | 0.1563
distr_solelc_spv_IND_006 | DEF_E | 0.58684 | [6 empty] | distr_solelc_spv_IND_006 | 0.15468 | distr_solelc_spv_IND_006 | DEF_C | OUT | 0.15468
distr_solelc_spv_IND_007 | DEF_E | 0.59334 | [6 empty] | distr_solelc_spv_IND_007 | 0.16272 | distr_solelc_spv_IND_007 | DEF_C | OUT | 0.16272
distr_solelc_spv_IND_008 | DEF_E | 0.59007 | [6 empty] | distr_solelc_spv_IND_008 | 0.15843 | distr_solelc_spv_IND_008 | DEF_C | OUT | 0.15843
distr_solelc_spv_IND_009 | DEF_E | 0.58491 | [6 empty] | distr_solelc_spv_IND_009 | 0.15608 | distr_solelc_spv_IND_009 | DEF_C | OUT | 0.15608
distr_solelc_spv_IND_010 | DEF_E | 0.58573 | [6 empty] | distr_solelc_spv_IND_010 | 0.15787 | distr_solelc_spv_IND_010 | DEF_C | OUT | 0.15787
distr_solelc_spv_IND_011 | DEF_E | 0.59036 | [6 empty] | distr_solelc_spv_IND_011 | 0.15889 | distr_solelc_spv_IND_011 | DEF_C | OUT | 0.15889
distr_solelc_spv_IND_012 | DEF_E | 0.58564 | [6 empty] | distr_solelc_spv_IND_012 | 0.16071 | distr_solelc_spv_IND_012 | DEF_C | OUT | 0.16071
distr_solelc_spv_IND_013 | DEF_E | 0.58922 | [6 empty] | distr_solelc_spv_IND_013 | 0.17416 | distr_solelc_spv_IND_013 | DEF_C | OUT | 0.17416
distr_solelc_spv_IND_014 | DEF_E | 0.5852 | [6 empty] | distr_solelc_spv_IND_014 | 0.17371 | distr_solelc_spv_IND_014 | DEF_C | OUT | 0.17371
distr_solelc_spv_IND_015 | DEF_E | 0.5836 | [6 empty] | distr_solelc_spv_IND_015 | 0.17815 | distr_solelc_spv_IND_015 | DEF_C | OUT | 0.17815
distr_solelc_spv_IND_016 | DEF_E | 0.58258 | [6 empty] | distr_solelc_spv_IND_016 | 0.17717 | distr_solelc_spv_IND_016 | DEF_C | OUT | 0.17717
distr_solelc_spv_IND_017 | DEF_E | 0.58291 | [6 empty] | distr_solelc_spv_IND_017 | 0.17236 | distr_solelc_spv_IND_017 | DEF_C | OUT | 0.17236
distr_solelc_spv_IND_018 | DEF_E | 0.58389 | [6 empty] | distr_solelc_spv_IND_018 | 0.17633 | distr_solelc_spv_IND_018 | DEF_C | OUT | 0.17633
distr_solelc_spv_IND_019 | DEF_E | 0.58901 | [6 empty] | distr_solelc_spv_IND_019 | 0.16302 | distr_solelc_spv_IND_019 | DEF_C | OUT | 0.16302
distr_solelc_spv_IND_020 | DEF_E | 0.5877 | [6 empty] | distr_solelc_spv_IND_020 | 0.16591 | distr_solelc_spv_IND_020 | DEF_C | OUT | 0.16591
distr_solelc_spv_IND_021 | DEF_E | 0.58941 | [6 empty] | distr_solelc_spv_IND_021 | 0.1664 | distr_solelc_spv_IND_021 | DEF_C | OUT | 0.1664
distr_solelc_spv_IND_022 | DEF_E | 0.58777 | [6 empty] | distr_solelc_spv_IND_022 | 0.16865 | distr_solelc_spv_IND_022 | DEF_C | OUT | 0.16865
distr_solelc_spv_IND_023 | DEF_E | 0.58486 | [6 empty] | distr_solelc_spv_IND_023 | 0.1628 | distr_solelc_spv_IND_023 | DEF_C | OUT | 0.1628
distr_solelc_spv_IND_024 | DEF_E | 0.58611 | [6 empty] | distr_solelc_spv_IND_024 | 0.16573 | distr_solelc_spv_IND_024 | DEF_C | OUT | 0.16573
distr_solelc_spv_IND_025 | DEF_E | 0.58432 | [6 empty] | distr_solelc_spv_IND_025 | 0.16635 | distr_solelc_spv_IND_025 | DEF_C | OUT | 0.16635
distr_solelc_spv_IND_026 | DEF_E | 0.5877 | [6 empty] | distr_solelc_spv_IND_026 | 0.16386 | distr_solelc_spv_IND_026 | DEF_C | OUT | 0.16386
distr_solelc_spv_IND_027 | DEF_E | 0.58852 | [6 empty] | distr_solelc_spv_IND_027 | 0.1683 | distr_solelc_spv_IND_027 | DEF_C | OUT | 0.1683
distr_solelc_spv_IND_028 | DEF_E | 0.58495 | [6 empty] | distr_solelc_spv_IND_028 | 0.17323 | distr_solelc_spv_IND_028 | DEF_C | OUT | 0.17323
distr_solelc_spv_IND_029 | DEF_E | 0.57937 | [6 empty] | distr_solelc_spv_IND_029 | 0.17345 | distr_solelc_spv_IND_029 | DEF_C | OUT | 0.17345
distr_solelc_spv_IND_030 | DEF_E | 0.58209 | [6 empty] | distr_solelc_spv_IND_030 | 0.17093 | distr_solelc_spv_IND_030 | DEF_C | OUT | 0.17093
distr_solelc_spv_IND_031 | DEF_E | 0.5843 | [6 empty] | distr_solelc_spv_IND_031 | 0.16652 | distr_solelc_spv_IND_031 | DEF_C | OUT | 0.16652
distr_solelc_spv_IND_032 | DEF_E | 0.57924 | [6 empty] | distr_solelc_spv_IND_032 | 0.17494 | distr_solelc_spv_IND_032 | DEF_C | OUT | 0.17494
distr_solelc_spv_IND_033 | DEF_E | 0.58898 | [6 empty] | distr_solelc_spv_IND_033 | 0.16615 | distr_solelc_spv_IND_033 | DEF_C | OUT | 0.16615
distr_solelc_spv_IND_034 | DEF_E | 0.58702 | [6 empty] | distr_solelc_spv_IND_034 | 0.16561 | distr_solelc_spv_IND_034 | DEF_C | OUT | 0.16561
distr_solelc_spv_IND_035 | DEF_E | 0.58418 | [6 empty] | distr_solelc_spv_IND_035 | 0.17064 | distr_solelc_spv_IND_035 | DEF_C | OUT | 0.17064
distr_solelc_spv_IND_036 | DEF_E | 0.58286 | [6 empty] | distr_solelc_spv_IND_036 | 0.16975 | distr_solelc_spv_IND_036 | DEF_C | OUT | 0.16975
distr_solelc_spv_IND_037 | DEF_E | 0.58196 | [6 empty] | distr_solelc_spv_IND_037 | 0.17057 | distr_solelc_spv_IND_037 | DEF_C | OUT | 0.17057
distr_solelc_spv_IND_038 | DEF_E | 0.58341 | [6 empty] | distr_solelc_spv_IND_038 | 0.16858 | distr_solelc_spv_IND_038 | DEF_C | OUT | 0.16858
distr_solelc_spv_IND_039 | DEF_E | 0.58038 | [6 empty] | distr_solelc_spv_IND_039 | 0.17393 | distr_solelc_spv_IND_039 | DEF_C | OUT | 0.17393
distr_solelc_spv_IND_040 | DEF_E | 0.58941 | [6 empty] | distr_solelc_spv_IND_040 | 0.17272 | distr_solelc_spv_IND_040 | DEF_C | OUT | 0.17272
distr_solelc_spv_IND_041 | DEF_E | 0.59328 | [6 empty] | distr_solelc_spv_IND_041 | 0.1714 | distr_solelc_spv_IND_041 | DEF_C | OUT | 0.1714
distr_solelc_spv_IND_042 | DEF_E | 0.58823 | [6 empty] | distr_solelc_spv_IND_042 | 0.1688 | distr_solelc_spv_IND_042 | DEF_C | OUT | 0.1688
distr_solelc_spv_IND_043 | DEF_E | 0.58574 | [6 empty] | distr_solelc_spv_IND_043 | 0.17269 | distr_solelc_spv_IND_043 | DEF_C | OUT | 0.17269
distr_solelc_spv_IND_044 | DEF_E | 0.59042 | [6 empty] | distr_solelc_spv_IND_044 | 0.16999 | distr_solelc_spv_IND_044 | DEF_C | OUT | 0.16999
distr_solelc_spv_IND_045 | DEF_E | 0.58437 | [6 empty] | distr_solelc_spv_IND_045 | 0.17339 | distr_solelc_spv_IND_045 | DEF_C | OUT | 0.17339
distr_solelc_spv_IND_046 | DEF_E | 0.58174 | [6 empty] | distr_solelc_spv_IND_046 | 0.17583 | distr_solelc_spv_IND_046 | DEF_C | OUT | 0.17583
distr_solelc_spv_IND_047 | DEF_E | 0.58898 | [6 empty] | distr_solelc_spv_IND_047 | 0.16739 | distr_solelc_spv_IND_047 | DEF_C | OUT | 0.16739
distr_solelc_spv_IND_048 | DEF_E | 0.59522 | [6 empty] | distr_solelc_spv_IND_048 | 0.1666 | distr_solelc_spv_IND_048 | DEF_C | OUT | 0.1666
distr_solelc_spv_IND_049 | DEF_E | 0.59094 | [6 empty] | distr_solelc_spv_IND_049 | 0.16975 | distr_solelc_spv_IND_049 | DEF_C | OUT | 0.16975
distr_solelc_spv_IND_050 | DEF_E | 0.59147 | [6 empty] | distr_solelc_spv_IND_050 | 0.16648 | distr_solelc_spv_IND_050 | DEF_C | OUT | 0.16648
distr_solelc_spv_IND_051 | DEF_E | 0.59872 | [6 empty] | distr_solelc_spv_IND_051 | 0.1614 | distr_solelc_spv_IND_051 | DEF_C | OUT | 0.1614
distr_solelc_spv_IND_052 | DEF_E | 0.59891 | [6 empty] | distr_solelc_spv_IND_052 | 0.16119 | distr_solelc_spv_IND_052 | DEF_C | OUT | 0.16119
distr_solelc_spv_IND_053 | DEF_E | 0.59439 | [6 empty] | distr_solelc_spv_IND_053 | 0.16443 | distr_solelc_spv_IND_053 | DEF_C | OUT | 0.16443
distr_solelc_spv_IND_054 | DEF_E | 0.58898 | [6 empty] | distr_solelc_spv_IND_054 | 0.16624 | distr_solelc_spv_IND_054 | DEF_C | OUT | 0.16624
distr_solelc_spv_IND_055 | DEF_E | 0.58179 | [6 empty] | distr_solelc_spv_IND_055 | 0.18325 | distr_solelc_spv_IND_055 | DEF_C | OUT | 0.18325
distr_solelc_spv_IND_056 | DEF_E | 0.58663 | [6 empty] | distr_solelc_spv_IND_056 | 0.1797 | distr_solelc_spv_IND_056 | DEF_C | OUT | 0.1797
distr_solelc_spv_IND_057 | DEF_E | 0.58285 | [6 empty] | distr_solelc_spv_IND_057 | 0.18206 | distr_solelc_spv_IND_057 | DEF_C | OUT | 0.18206
distr_solelc_spv_IND_058 | DEF_E | 0.57853 | [6 empty] | distr_solelc_spv_IND_058 | 0.19069 | distr_solelc_spv_IND_058 | DEF_C | OUT | 0.19069
distr_solelc_spv_IND_059 | DEF_E | 0.57854 | [6 empty] | distr_solelc_spv_IND_059 | 0.19038 | distr_solelc_spv_IND_059 | DEF_C | OUT | 0.19038
distr_solelc_spv_IND_060 | DEF_E | 0.5926 | [6 empty] | distr_solelc_spv_IND_060 | 0.16933 | distr_solelc_spv_IND_060 | DEF_C | OUT | 0.16933
distr_solelc_spv_IND_061 | DEF_E | 0.59734 | [6 empty] | distr_solelc_spv_IND_061 | 0.16664 | distr_solelc_spv_IND_061 | DEF_C | OUT | 0.16664
distr_solelc_spv_IND_062 | DEF_E | 0.5967 | [6 empty] | distr_solelc_spv_IND_062 | 0.17048 | distr_solelc_spv_IND_062 | DEF_C | OUT | 0.17048
distr_solelc_spv_IND_063 | DEF_E | 0.59512 | [6 empty] | distr_solelc_spv_IND_063 | 0.17032 | distr_solelc_spv_IND_063 | DEF_C | OUT | 0.17032
distr_solelc_spv_IND_064 | DEF_E | 0.59016 | [6 empty] | distr_solelc_spv_IND_064 | 0.17564 | distr_solelc_spv_IND_064 | DEF_C | OUT | 0.17564
distr_solelc_spv_IND_065 | DEF_E | 0.59438 | [6 empty] | distr_solelc_spv_IND_065 | 0.1699 | distr_solelc_spv_IND_065 | DEF_C | OUT | 0.1699
distr_solelc_spv_IND_066 | DEF_E | 0.59426 | [6 empty] | distr_solelc_spv_IND_066 | 0.17114 | distr_solelc_spv_IND_066 | DEF_C | OUT | 0.17114
distr_solelc_spv_IND_067 | DEF_E | 0.5872 | [6 empty] | distr_solelc_spv_IND_067 | 0.17641 | distr_solelc_spv_IND_067 | DEF_C | OUT | 0.17641
distr_solelc_spv_IND_068 | DEF_E | 0.58954 | [6 empty] | distr_solelc_spv_IND_068 | 0.1754 | distr_solelc_spv_IND_068 | DEF_C | OUT | 0.1754
distr_solelc_spv_IND_069 | DEF_E | 0.58495 | [6 empty] | distr_solelc_spv_IND_069 | 0.17568 | distr_solelc_spv_IND_069 | DEF_C | OUT | 0.17568
distr_solelc_spv_IND_070 | DEF_E | 0.58395 | [6 empty] | distr_solelc_spv_IND_070 | 0.17617 | distr_solelc_spv_IND_070 | DEF_C | OUT | 0.17617
distr_solelc_spv_IND_071 | DEF_E | 0.58077 | [6 empty] | distr_solelc_spv_IND_071 | 0.18072 | distr_solelc_spv_IND_071 | DEF_C | OUT | 0.18072
distr_solelc_spv_IND_072 | DEF_E | 0.58184 | [6 empty] | distr_solelc_spv_IND_072 | 0.18264 | distr_solelc_spv_IND_072 | DEF_C | OUT | 0.18264
distr_solelc_spv_IND_073 | DEF_E | 0.57766 | [6 empty] | distr_solelc_spv_IND_073 | 0.18779 | distr_solelc_spv_IND_073 | DEF_C | OUT | 0.18779
distr_solelc_spv_IND_074 | DEF_E | 0.57532 | [6 empty] | distr_solelc_spv_IND_074 | 0.19512 | distr_solelc_spv_IND_074 | DEF_C | OUT | 0.19512
distr_solelc_spv_IND_075 | DEF_E | 0.57491 | [6 empty] | distr_solelc_spv_IND_075 | 0.19882 | distr_solelc_spv_IND_075 | DEF_C | OUT | 0.19882
distr_solelc_spv_IND_076 | DEF_E | 0.57844 | [6 empty] | distr_solelc_spv_IND_076 | 0.18427 | distr_solelc_spv_IND_076 | DEF_C | OUT | 0.18427
distr_solelc_spv_IND_077 | DEF_E | 0.58307 | [6 empty] | distr_solelc_spv_IND_077 | 0.17798 | distr_solelc_spv_IND_077 | DEF_C | OUT | 0.17798
distr_solelc_spv_IND_078 | DEF_E | 0.58252 | [6 empty] | distr_solelc_spv_IND_078 | 0.17922 | distr_solelc_spv_IND_078 | DEF_C | OUT | 0.17922
distr_wofelc_wof_IND_001 | DEF_E | 0.4203 | [6 empty] | distr_wofelc_wof_IND_001 | 0.27021 | distr_wonelc_won_IND_001 | DEF_C | OUT | 0.093756
distr_wofelc_wof_IND_002 | DEF_E | 0.39402 | [6 empty] | distr_wofelc_wof_IND_002 | 0.24675 | distr_wonelc_won_IND_002 | DEF_C | OUT | 0.10733
distr_wofelc_wof_IND_003 | DEF_E | 0.37357 | [6 empty] | distr_wofelc_wof_IND_003 | 0.27479 | distr_wonelc_won_IND_003 | DEF_C | OUT | 0.12384
distr_wofelc_wof_IND_004 | DEF_E | 0.31457 | [6 empty] | distr_wofelc_wof_IND_004 | 0.31013 | distr_wonelc_won_IND_004 | DEF_C | OUT | 0.11189
distr_wofelc_wof_IND_005 | DEF_E | 0.32913 | [6 empty] | distr_wofelc_wof_IND_005 | 0.28073 | distr_wonelc_won_IND_005 | DEF_C | OUT | 0.1668
distr_wofelc_wof_IND_006 | DEF_E | 0.35416 | [6 empty] | distr_wofelc_wof_IND_006 | 0.30688 | distr_wonelc_won_IND_006 | DEF_C | OUT | 0.13155
distr_wofelc_wof_IND_007 | DEF_E | 0.35943 | [6 empty] | distr_wofelc_wof_IND_007 | 0.2623 | distr_wonelc_won_IND_007 | DEF_C | OUT | 0.11504
distr_wofelc_wof_IND_008 | DEF_E | 0.32914 | [6 empty] | distr_wofelc_wof_IND_008 | 0.33012 | distr_wonelc_won_IND_008 | DEF_C | OUT | 0.09693
distr_wofelc_wof_IND_009 | DEF_E | 0.33689 | [6 empty] | distr_wofelc_wof_IND_009 | 0.31371 | distr_wonelc_won_IND_009 | DEF_C | OUT | 0.1456
distr_wofelc_wof_IND_010 | DEF_E | 0.30835 | [6 empty] | distr_wofelc_wof_IND_010 | 0.31525 | distr_wonelc_won_IND_010 | DEF_C | OUT | 0.11123
distr_wofelc_wof_IND_011 | DEF_E | 0.42781 | [6 empty] | distr_wofelc_wof_IND_011 | 0.27148 | distr_wonelc_won_IND_011 | DEF_C | OUT | 0.14375
distr_wofelc_wof_IND_012 | DEF_E | 0.41773 | [6 empty] | distr_wofelc_wof_IND_012 | 0.25536 | distr_wonelc_won_IND_012 | DEF_C | OUT | 0.11834
distr_wofelc_wof_IND_013 | DEF_E | 0.39982 | [6 empty] | distr_wofelc_wof_IND_013 | 0.3013 | distr_wonelc_won_IND_013 | DEF_C | OUT | 0.14233
distr_wofelc_wof_IND_014 | DEF_E | 0.42919 | [6 empty] | distr_wofelc_wof_IND_014 | 0.26749 | distr_wonelc_won_IND_014 | DEF_C | OUT | 0.1718
distr_wofelc_wof_IND_015 | DEF_E | 0.43998 | [6 empty] | distr_wofelc_wof_IND_015 | 0.27796 | distr_wonelc_won_IND_015 | DEF_C | OUT | 0.17732
distr_wofelc_wof_IND_016 | DEF_E | 0.2661 | [6 empty] | distr_wofelc_wof_IND_016 | 0.48496 | distr_wonelc_won_IND_016 | DEF_C | OUT | 0.20687
distr_wofelc_wof_IND_017 | DEF_E | 0.27055 | [6 empty] | distr_wofelc_wof_IND_017 | 0.46939 | distr_wonelc_won_IND_017 | DEF_C | OUT | 0.17719
distr_wofelc_wof_IND_018 | DEF_E | 0.31253 | [6 empty] | distr_wofelc_wof_IND_018 | 0.36513 | distr_wonelc_won_IND_018 | DEF_C | OUT | 0.21247
distr_wofelc_wof_IND_019 | DEF_E | 0.319 | [6 empty] | distr_wofelc_wof_IND_019 | 0.25015 | distr_wonelc_won_IND_019 | DEF_C | OUT | 0.15044
distr_wofelc_wof_IND_020 | DEF_E | 0.30897 | [6 empty] | distr_wofelc_wof_IND_020 | 0.378 | distr_wonelc_won_IND_020 | DEF_C | OUT | 0.15323
distr_wofelc_wof_IND_021 | DEF_E | 0.30646 | [6 empty] | distr_wofelc_wof_IND_021 | 0.2733 | distr_wonelc_won_IND_021 | DEF_C | OUT | 0.20789
distr_wofelc_wof_IND_022 | DEF_E | 0.37555 | [6 empty] | distr_wofelc_wof_IND_022 | 0.29256 | distr_wonelc_won_IND_022 | DEF_C | OUT | 0.17088
distr_wofelc_wof_IND_023 | DEF_E | 0.34883 | [6 empty] | distr_wofelc_wof_IND_023 | 0.21138 | distr_wonelc_won_IND_023 | DEF_C | OUT | 0.14673
distr_wofelc_wof_IND_024 | DEF_E | 0.36 | [6 empty] | distr_wofelc_wof_IND_024 | 0.24691 | distr_wonelc_won_IND_024 | DEF_C | OUT | 0.1497
distr_wonelc_won_IND_001 | DEF_E | 0.41592 | [6 empty] | distr_wonelc_won_IND_001 | 0.095367 | distr_wonelc_won_IND_025 | DEF_C | OUT | 0.20651
distr_wonelc_won_IND_002 | DEF_E | 0.37519 | [6 empty] | distr_wonelc_won_IND_002 | 0.10941 | distr_wonelc_won_IND_026 | DEF_C | OUT | 0.14986
distr_wonelc_won_IND_003 | DEF_E | 0.39165 | [6 empty] | distr_wonelc_won_IND_003 | 0.12536 | distr_wonelc_won_IND_027 | DEF_C | OUT | 0.23799
distr_wonelc_won_IND_004 | DEF_E | 0.36831 | [6 empty] | distr_wonelc_won_IND_004 | 0.1138 | distr_wonelc_won_IND_028 | DEF_C | OUT | 0.20941
distr_wonelc_won_IND_005 | DEF_E | 0.36352 | [6 empty] | distr_wonelc_won_IND_005 | 0.16858 | distr_wonelc_won_IND_029 | DEF_C | OUT | 0.090312
distr_wonelc_won_IND_006 | DEF_E | 0.36698 | [6 empty] | distr_wonelc_won_IND_006 | 0.13377 | distr_wonelc_won_IND_030 | DEF_C | OUT | 0.16348
distr_wonelc_won_IND_007 | DEF_E | 0.38231 | [6 empty] | distr_wonelc_won_IND_007 | 0.11703 | distr_wonelc_won_IND_031 | DEF_C | OUT | 0.22187
distr_wonelc_won_IND_008 | DEF_E | 0.42881 | [6 empty] | distr_wonelc_won_IND_008 | 0.09911 | distr_wonelc_won_IND_032 | DEF_C | OUT | 0.27689
distr_wonelc_won_IND_009 | DEF_E | 0.38726 | [6 empty] | distr_wonelc_won_IND_009 | 0.14735 | distr_wonelc_won_IND_033 | DEF_C | OUT | 0.20492
distr_wonelc_won_IND_010 | DEF_E | 0.38888 | [6 empty] | distr_wonelc_won_IND_010 | 0.11316 | distr_wonelc_won_IND_034 | DEF_C | OUT | 0.13675
distr_wonelc_won_IND_011 | DEF_E | 0.37787 | [6 empty] | distr_wonelc_won_IND_011 | 0.1461 | distr_wonelc_won_IND_035 | DEF_C | OUT | 0.14142
distr_wonelc_won_IND_012 | DEF_E | 0.39358 | [6 empty] | distr_wonelc_won_IND_012 | 0.12032 | distr_wonelc_won_IND_036 | DEF_C | OUT | 0.13297
distr_wonelc_won_IND_013 | DEF_E | 0.35209 | [6 empty] | distr_wonelc_won_IND_013 | 0.14559 | distr_wonelc_won_IND_037 | DEF_C | OUT | 0.14043
distr_wonelc_won_IND_014 | DEF_E | 0.37684 | [6 empty] | distr_wonelc_won_IND_014 | 0.17541 | distr_wonelc_won_IND_038 | DEF_C | OUT | 0.13732
distr_wonelc_won_IND_015 | DEF_E | 0.36246 | [6 empty] | distr_wonelc_won_IND_015 | 0.17966 | distr_wonelc_won_IND_039 | DEF_C | OUT | 0.12268
distr_wonelc_won_IND_016 | DEF_E | 0.33162 | [6 empty] | distr_wonelc_won_IND_016 | 0.20967 | distr_wonelc_won_IND_040 | DEF_C | OUT | 0.15406
distr_wonelc_won_IND_017 | DEF_E | 0.34957 | [6 empty] | distr_wonelc_won_IND_017 | 0.17937 | distr_wonelc_won_IND_041 | DEF_C | OUT | 0.11459
distr_wonelc_won_IND_018 | DEF_E | 0.34572 | [6 empty] | distr_wonelc_won_IND_018 | 0.21605 | distr_wonelc_won_IND_042 | DEF_C | OUT | 0.099242
distr_wonelc_won_IND_019 | DEF_E | 0.3311 | [6 empty] | distr_wonelc_won_IND_019 | 0.1521 | distr_wonelc_won_IND_043 | DEF_C | OUT | 0.13777
distr_wonelc_won_IND_020 | DEF_E | 0.26972 | [6 empty] | distr_wonelc_won_IND_020 | 0.15733 | distr_wonelc_won_IND_044 | DEF_C | OUT | 0.10625
distr_wonelc_won_IND_021 | DEF_E | 0.27133 | [6 empty] | distr_wonelc_won_IND_021 | 0.21101 | distr_wonelc_won_IND_045 | DEF_C | OUT | 0.11217
distr_wonelc_won_IND_022 | DEF_E | 0.29532 | [6 empty] | distr_wonelc_won_IND_022 | 0.17276 | distr_wonelc_won_IND_046 | DEF_C | OUT | 0.10782
distr_wonelc_won_IND_023 | DEF_E | 0.36275 | [6 empty] | distr_wonelc_won_IND_023 | 0.14889 | distr_wonelc_won_IND_047 | DEF_C | OUT | 0.095291
distr_wonelc_won_IND_024 | DEF_E | 0.3581 | [6 empty] | distr_wonelc_won_IND_024 | 0.15186 | distr_wonelc_won_IND_048 | DEF_C | OUT | 0.11811
distr_wonelc_won_IND_025 | DEF_E | 0.27529 | [6 empty] | distr_wonelc_won_IND_025 | 0.21021 | distr_wonelc_won_IND_049 | DEF_C | OUT | 0.11973
distr_wonelc_won_IND_026 | DEF_E | 0.32451 | [6 empty] | distr_wonelc_won_IND_026 | 0.1524 | distr_wonelc_won_IND_050 | DEF_C | OUT | 0.12436
distr_wonelc_won_IND_027 | DEF_E | 0.3862 | [6 empty] | distr_wonelc_won_IND_027 | 0.23935 | distr_wonelc_won_IND_051 | DEF_C | OUT | 0.1185
distr_wonelc_won_IND_028 | DEF_E | 0.35171 | [6 empty] | distr_wonelc_won_IND_028 | 0.21091 | distr_wonelc_won_IND_052 | DEF_C | OUT | 0.10013
distr_wonelc_won_IND_029 | DEF_E | 0.4004 | [6 empty] | distr_wonelc_won_IND_029 | 0.091616 | distr_wonelc_won_IND_053 | DEF_C | OUT | 0.099161
distr_wonelc_won_IND_030 | DEF_E | 0.38098 | [6 empty] | distr_wonelc_won_IND_030 | 0.16521 | distr_wonelc_won_IND_054 | DEF_C | OUT | 0.12735
distr_wonelc_won_IND_031 | DEF_E | 0.33978 | [6 empty] | distr_wonelc_won_IND_031 | 0.22484 | distr_wonelc_won_IND_055 | DEF_C | OUT | 0.15002
distr_wonelc_won_IND_032 | DEF_E | 0.30552 | [6 empty] | distr_wonelc_won_IND_032 | 0.27941 | distr_wonelc_won_IND_056 | DEF_C | OUT | 0.14845
distr_wonelc_won_IND_033 | DEF_E | 0.3403 | [6 empty] | distr_wonelc_won_IND_033 | 0.20805 | distr_wonelc_won_IND_057 | DEF_C | OUT | 0.13043
distr_wonelc_won_IND_034 | DEF_E | 0.3281 | [6 empty] | distr_wonelc_won_IND_034 | 0.13848 | distr_wonelc_won_IND_058 | DEF_C | OUT | 0.12141
distr_wonelc_won_IND_035 | DEF_E | 0.31458 | [6 empty] | distr_wonelc_won_IND_035 | 0.14403 | distr_wonelc_won_IND_059 | DEF_C | OUT | 0.11869
distr_wonelc_won_IND_036 | DEF_E | 0.35443 | [6 empty] | distr_wonelc_won_IND_036 | 0.13451 | distr_wonelc_won_IND_060 | DEF_C | OUT | 0.12784
distr_wonelc_won_IND_037 | DEF_E | 0.32701 | [6 empty] | distr_wonelc_won_IND_037 | 0.14234 | distr_wonelc_won_IND_061 | DEF_C | OUT | 0.093136
distr_wonelc_won_IND_038 | DEF_E | 0.34996 | [6 empty] | distr_wonelc_won_IND_038 | 0.13942 | distr_wonelc_won_IND_062 | DEF_C | OUT | 0.097698
distr_wonelc_won_IND_039 | DEF_E | 0.35346 | [6 empty] | distr_wonelc_won_IND_039 | 0.12468 | distr_wonelc_won_IND_063 | DEF_C | OUT | 0.092192
distr_wonelc_won_IND_040 | DEF_E | 0.41036 | [6 empty] | distr_wonelc_won_IND_040 | 0.15671 | distr_wonelc_won_IND_064 | DEF_C | OUT | 0.097683
distr_wonelc_won_IND_041 | DEF_E | 0.38923 | [6 empty] | distr_wonelc_won_IND_041 | 0.11647 | distr_wonelc_won_IND_065 | DEF_C | OUT | 0.099009
distr_wonelc_won_IND_042 | DEF_E | 0.38928 | [6 empty] | distr_wonelc_won_IND_042 | 0.10071 | distr_wonelc_won_IND_066 | DEF_C | OUT | 0.11163
distr_wonelc_won_IND_043 | DEF_E | 0.3885 | [6 empty] | distr_wonelc_won_IND_043 | 0.13961 | distr_wofelc_wof_IND_001 | DEF_C | OUT | 0.26843
distr_wonelc_won_IND_044 | DEF_E | 0.37732 | [6 empty] | distr_wonelc_won_IND_044 | 0.10757 | distr_wofelc_wof_IND_002 | DEF_C | OUT | 0.24524
distr_wonelc_won_IND_045 | DEF_E | 0.40097 | [6 empty] | distr_wonelc_won_IND_045 | 0.11382 | distr_wofelc_wof_IND_003 | DEF_C | OUT | 0.27186
distr_wonelc_won_IND_046 | DEF_E | 0.38742 | [6 empty] | distr_wonelc_won_IND_046 | 0.10928 | distr_wofelc_wof_IND_004 | DEF_C | OUT | 0.30636
distr_wonelc_won_IND_047 | DEF_E | 0.38961 | [6 empty] | distr_wonelc_won_IND_047 | 0.097766 | distr_wofelc_wof_IND_005 | DEF_C | OUT | 0.27806
distr_wonelc_won_IND_048 | DEF_E | 0.39846 | [6 empty] | distr_wonelc_won_IND_048 | 0.11926 | distr_wofelc_wof_IND_006 | DEF_C | OUT | 0.30417
distr_wonelc_won_IND_049 | DEF_E | 0.4064 | [6 empty] | distr_wonelc_won_IND_049 | 0.12119 | distr_wofelc_wof_IND_007 | DEF_C | OUT | 0.25977
distr_wonelc_won_IND_050 | DEF_E | 0.41766 | [6 empty] | distr_wonelc_won_IND_050 | 0.12569 | distr_wofelc_wof_IND_008 | DEF_C | OUT | 0.3274
distr_wonelc_won_IND_051 | DEF_E | 0.39412 | [6 empty] | distr_wonelc_won_IND_051 | 0.11988 | distr_wofelc_wof_IND_009 | DEF_C | OUT | 0.31198
distr_wonelc_won_IND_052 | DEF_E | 0.37104 | [6 empty] | distr_wonelc_won_IND_052 | 0.10157 | distr_wofelc_wof_IND_010 | DEF_C | OUT | 0.31277
distr_wonelc_won_IND_053 | DEF_E | 0.38961 | [6 empty] | distr_wonelc_won_IND_053 | 0.10085 | distr_wofelc_wof_IND_011 | DEF_C | OUT | 0.26997
distr_wonelc_won_IND_054 | DEF_E | 0.38735 | [6 empty] | distr_wonelc_won_IND_054 | 0.12887 | distr_wofelc_wof_IND_012 | DEF_C | OUT | 0.25418
distr_wonelc_won_IND_055 | DEF_E | 0.40087 | [6 empty] | distr_wonelc_won_IND_055 | 0.15167 | distr_wofelc_wof_IND_013 | DEF_C | OUT | 0.30002
distr_wonelc_won_IND_056 | DEF_E | 0.41043 | [6 empty] | distr_wonelc_won_IND_056 | 0.14991 | distr_wofelc_wof_IND_014 | DEF_C | OUT | 0.26604
distr_wonelc_won_IND_057 | DEF_E | 0.40879 | [6 empty] | distr_wonelc_won_IND_057 | 0.13183 | distr_wofelc_wof_IND_015 | DEF_C | OUT | 0.27656
distr_wonelc_won_IND_058 | DEF_E | 0.41998 | [6 empty] | distr_wonelc_won_IND_058 | 0.12276 | distr_wofelc_wof_IND_016 | DEF_C | OUT | 0.48171
distr_wonelc_won_IND_059 | DEF_E | 0.4037 | [6 empty] | distr_wonelc_won_IND_059 | 0.11996 | distr_wofelc_wof_IND_017 | DEF_C | OUT | 0.46768
distr_wonelc_won_IND_060 | DEF_E | 0.412 | [6 empty] | distr_wonelc_won_IND_060 | 0.1293 | distr_wofelc_wof_IND_018 | DEF_C | OUT | 0.36369
distr_wonelc_won_IND_061 | DEF_E | 0.41135 | [6 empty] | distr_wonelc_won_IND_061 | 0.094577 | distr_wofelc_wof_IND_019 | DEF_C | OUT | 0.24693
distr_wonelc_won_IND_062 | DEF_E | 0.38496 | [6 empty] | distr_wonelc_won_IND_062 | 0.099196 | distr_wofelc_wof_IND_020 | DEF_C | OUT | 0.37621
distr_wonelc_won_IND_063 | DEF_E | 0.36496 | [6 empty] | distr_wonelc_won_IND_063 | 0.094168 | distr_wofelc_wof_IND_021 | DEF_C | OUT | 0.27166
distr_wonelc_won_IND_064 | DEF_E | 0.38567 | [6 empty] | distr_wonelc_won_IND_064 | 0.099144 | distr_wofelc_wof_IND_022 | DEF_C | OUT | 0.29062
distr_wonelc_won_IND_065 | DEF_E | 0.39178 | [6 empty] | distr_wonelc_won_IND_065 | 0.1004 | distr_wofelc_wof_IND_023 | DEF_C | OUT | 0.21027
distr_wonelc_won_IND_066 | DEF_E | 0.36198 | [6 empty] | distr_wonelc_won_IND_066 | 0.11349 | distr_wofelc_wof_IND_024 | DEF_C | OUT | 0.24533

## load_demand_peak_hydro
| ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  | ~TFM_DINS-AT |  |  | ~TFM_INS-AT
ts_01 | g_yrfr | com_fr | timeslice | commodity | commodity | timeslice | com_fr | commodity | timeslice | com_pkflx | Year | timeslice | ncap_afs | pset_ci
| 1 | 1 | AaH | elc_roadtransport | elc_buildings | AaH |  | ELC | AaH | 0.39876 | 2020 | A | 0.40394 | hydro
[5 empty] | elc_industry | AaH |  |  |  |  | 2021 | A | 0.39017 | hydro
[11 empty] | 2022 | A | 0.42094 | hydro
[11 empty] | 2025 | A | 0.46044 | hydro
[11 empty] | 2026 | A | 0.44534 | hydro
[11 empty] | 2027 | A | 0.43371 | hydro
[11 empty] | 2028 | A | 0.40334 | hydro
[11 empty] | 2029 | A | 0.38216 | hydro
[11 empty] | 2030 | A | 0.39528 | hydro
[11 empty] | 2031 | A | 0.39325 | hydro
[11 empty] | 2032 | A | 0.38551 | hydro
[11 empty] | 2033 | A | 0.40386 | hydro
[11 empty] | 2034 | A | 0.39672 | hydro
[11 empty] | 2035 | A | 0.38849 | hydro
[11 empty] | 2036 | A | 0.38615 | hydro
[11 empty] | 2037 | A | 0.39253 | hydro
[11 empty] | 2038 | A | 0.41318 | hydro
[11 empty] | 2039 | A | 0.38524 | hydro
[11 empty] | 2040 | A | 0.39233 | hydro
[11 empty] | 2041 | A | 0.33181 | hydro
[11 empty] | 2042 | A | 0.32301 | hydro
[11 empty] | 2043 | A | 0.33951 | hydro
[11 empty] | 2044 | A | 0.3324 | hydro
[11 empty] | 2045 | A | 0.39242 | hydro
[11 empty] | 2046 | A | 0.45469 | hydro
[11 empty] | 2047 | A | 0.39892 | hydro
[11 empty] | 2048 | A | 0.39758 | hydro
[11 empty] | 2049 | A | 0.3964 | hydro
[11 empty] | 2050 | A | 0.39782 | hydro