## ev_charging_uc
ts_12t | day_night | ts_12t
| D | WaD,SaD,RaD,RaP,FaP,SaP,FaD,WaP
| N | FaN,FaP,SaP,RaP,WaP,SaN,WaN,RaN
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
~UC_T: LO
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | FaN,FaP,SaP,RaP,WaP,SaN,WaN,RaN | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | WaD,SaD,RaD,RaP,FaP,SaP,FaD,WaP | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_12t | season | weekly | daynite | wparent | dparent
| F | a | D | W,R,S,F | a
| R |  | N |  | a
| S |  | P |  | a
W

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_POL_001 | FaD | 0.15705 | IMPNRGZ | elc_won_POL_001 | FaD | 0.10619 | IMPNRGZ | elc_wof_POL_001 | FaD | 0.11978 | IMPNRGZ
elc_spv_POL_001 | FaN | 6.246e-05 | IMPNRGZ | elc_won_POL_001 | FaN | 0.13017 | IMPNRGZ | elc_wof_POL_001 | FaN | 0.12994 | IMPNRGZ
elc_spv_POL_001 | FaP | 0.0094529 | IMPNRGZ | elc_won_POL_001 | FaP | 0.02262 | IMPNRGZ | elc_wof_POL_001 | FaP | 0.024211 | IMPNRGZ
elc_spv_POL_001 | RaD | 0.29014 | IMPNRGZ | elc_won_POL_001 | RaD | 0.10546 | IMPNRGZ | elc_wof_POL_001 | RaD | 0.098171 | IMPNRGZ
elc_spv_POL_001 | RaN | 0.006785 | IMPNRGZ | elc_won_POL_001 | RaN | 0.13712 | IMPNRGZ | elc_wof_POL_001 | RaN | 0.11788 | IMPNRGZ
elc_spv_POL_001 | RaP | 0.030624 | IMPNRGZ | elc_won_POL_001 | RaP | 0.019969 | IMPNRGZ | elc_wof_POL_001 | RaP | 0.019409 | IMPNRGZ
elc_spv_POL_001 | SaD | 0.35834 | IMPNRGZ | elc_won_POL_001 | SaD | 0.048858 | IMPNRGZ | elc_wof_POL_001 | SaD | 0.065431 | IMPNRGZ
elc_spv_POL_001 | SaN | 0.02072 | IMPNRGZ | elc_won_POL_001 | SaN | 0.071292 | IMPNRGZ | elc_wof_POL_001 | SaN | 0.068131 | IMPNRGZ
elc_spv_POL_001 | SaP | 0.045937 | IMPNRGZ | elc_won_POL_001 | SaP | 0.0097401 | IMPNRGZ | elc_wof_POL_001 | SaP | 0.013207 | IMPNRGZ
elc_spv_POL_001 | WaD | 0.079514 | IMPNRGZ | elc_won_POL_001 | WaD | 0.15272 | IMPNRGZ | elc_wof_POL_001 | WaD | 0.15297 | IMPNRGZ
elc_spv_POL_001 | WaN | 0 | IMPNRGZ | elc_won_POL_001 | WaN | 0.16577 | IMPNRGZ | elc_wof_POL_001 | WaN | 0.16155 | IMPNRGZ
elc_spv_POL_001 | WaP | 0.0013737 | IMPNRGZ | elc_won_POL_001 | WaP | 0.030098 | IMPNRGZ | elc_wof_POL_001 | WaP | 0.029324 | IMPNRGZ
elc_spv_POL_002 | FaD | 0.16905 | IMPNRGZ | elc_won_POL_002 | FaD | 0.10611 | IMPNRGZ | elc_wof_POL_002 | FaD | 0.11784 | IMPNRGZ
elc_spv_POL_002 | FaN | 6.1182e-07 | IMPNRGZ | elc_won_POL_002 | FaN | 0.13014 | IMPNRGZ | elc_wof_POL_002 | FaN | 0.11986 | IMPNRGZ
elc_spv_POL_002 | FaP | 0.0083314 | IMPNRGZ | elc_won_POL_002 | FaP | 0.024043 | IMPNRGZ | elc_wof_POL_002 | FaP | 0.022255 | IMPNRGZ
elc_spv_POL_002 | RaD | 0.28049 | IMPNRGZ | elc_won_POL_002 | RaD | 0.10435 | IMPNRGZ | elc_wof_POL_002 | RaD | 0.11164 | IMPNRGZ
elc_spv_POL_002 | RaN | 0.0054728 | IMPNRGZ | elc_won_POL_002 | RaN | 0.13431 | IMPNRGZ | elc_wof_POL_002 | RaN | 0.12661 | IMPNRGZ
elc_spv_POL_002 | RaP | 0.028861 | IMPNRGZ | elc_won_POL_002 | RaP | 0.020577 | IMPNRGZ | elc_wof_POL_002 | RaP | 0.021609 | IMPNRGZ
elc_spv_POL_002 | SaD | 0.35172 | IMPNRGZ | elc_won_POL_002 | SaD | 0.049275 | IMPNRGZ | elc_wof_POL_002 | SaD | 0.075394 | IMPNRGZ
elc_spv_POL_002 | SaN | 0.017912 | IMPNRGZ | elc_won_POL_002 | SaN | 0.066952 | IMPNRGZ | elc_wof_POL_002 | SaN | 0.080666 | IMPNRGZ
elc_spv_POL_002 | SaP | 0.043178 | IMPNRGZ | elc_won_POL_002 | SaP | 0.010527 | IMPNRGZ | elc_wof_POL_002 | SaP | 0.01507 | IMPNRGZ
elc_spv_POL_002 | WaD | 0.093502 | IMPNRGZ | elc_won_POL_002 | WaD | 0.15541 | IMPNRGZ | elc_wof_POL_002 | WaD | 0.14 | IMPNRGZ
elc_spv_POL_002 | WaN | 0 | IMPNRGZ | elc_won_POL_002 | WaN | 0.16718 | IMPNRGZ | elc_wof_POL_002 | WaN | 0.14233 | IMPNRGZ
elc_spv_POL_002 | WaP | 0.0014934 | IMPNRGZ | elc_won_POL_002 | WaP | 0.031129 | IMPNRGZ | elc_wof_POL_002 | WaP | 0.026719 | IMPNRGZ
elc_spv_POL_003 | FaD | 0.16411 | IMPNRGZ | elc_won_POL_003 | FaD | 0.10621 | IMPNRGZ | elc_wof_POL_003 | FaD | 0.11887 | IMPNRGZ
elc_spv_POL_003 | FaN | 2.111e-05 | IMPNRGZ | elc_won_POL_003 | FaN | 0.12733 | IMPNRGZ | elc_wof_POL_003 | FaN | 0.12482 | IMPNRGZ
elc_spv_POL_003 | FaP | 0.0079125 | IMPNRGZ | elc_won_POL_003 | FaP | 0.022216 | IMPNRGZ | elc_wof_POL_003 | FaP | 0.02336 | IMPNRGZ
elc_spv_POL_003 | RaD | 0.2873 | IMPNRGZ | elc_won_POL_003 | RaD | 0.11246 | IMPNRGZ | elc_wof_POL_003 | RaD | 0.10415 | IMPNRGZ
elc_spv_POL_003 | RaN | 0.0065838 | IMPNRGZ | elc_won_POL_003 | RaN | 0.13253 | IMPNRGZ | elc_wof_POL_003 | RaN | 0.12235 | IMPNRGZ
elc_spv_POL_003 | RaP | 0.029881 | IMPNRGZ | elc_won_POL_003 | RaP | 0.02058 | IMPNRGZ | elc_wof_POL_003 | RaP | 0.020467 | IMPNRGZ
elc_spv_POL_003 | SaD | 0.357 | IMPNRGZ | elc_won_POL_003 | SaD | 0.051443 | IMPNRGZ | elc_wof_POL_003 | SaD | 0.071321 | IMPNRGZ
elc_spv_POL_003 | SaN | 0.019573 | IMPNRGZ | elc_won_POL_003 | SaN | 0.069099 | IMPNRGZ | elc_wof_POL_003 | SaN | 0.075028 | IMPNRGZ
elc_spv_POL_003 | SaP | 0.044813 | IMPNRGZ | elc_won_POL_003 | SaP | 0.010507 | IMPNRGZ | elc_wof_POL_003 | SaP | 0.014527 | IMPNRGZ
elc_spv_POL_003 | WaD | 0.081768 | IMPNRGZ | elc_won_POL_003 | WaD | 0.15449 | IMPNRGZ | elc_wof_POL_003 | WaD | 0.1455 | IMPNRGZ
elc_spv_POL_003 | WaN | 0 | IMPNRGZ | elc_won_POL_003 | WaN | 0.16352 | IMPNRGZ | elc_wof_POL_003 | WaN | 0.15162 | IMPNRGZ
elc_spv_POL_003 | WaP | 0.0010364 | IMPNRGZ | elc_won_POL_003 | WaP | 0.029612 | IMPNRGZ | elc_wof_POL_003 | WaP | 0.027991 | IMPNRGZ
elc_spv_POL_004 | FaD | 0.14753 | IMPNRGZ | elc_won_POL_004 | FaD | 0.11151 | IMPNRGZ | elc_wof_POL_004 | FaD | 0.11956 | IMPNRGZ
elc_spv_POL_004 | FaN | 8.5777e-05 | IMPNRGZ | elc_won_POL_004 | FaN | 0.13327 | IMPNRGZ | elc_wof_POL_004 | FaN | 0.11895 | IMPNRGZ
elc_spv_POL_004 | FaP | 0.0087437 | IMPNRGZ | elc_won_POL_004 | FaP | 0.022861 | IMPNRGZ | elc_wof_POL_004 | FaP | 0.021072 | IMPNRGZ
elc_spv_POL_004 | RaD | 0.30814 | IMPNRGZ | elc_won_POL_004 | RaD | 0.10965 | IMPNRGZ | elc_wof_POL_004 | RaD | 0.1175 | IMPNRGZ
elc_spv_POL_004 | RaN | 0.0068339 | IMPNRGZ | elc_won_POL_004 | RaN | 0.13531 | IMPNRGZ | elc_wof_POL_004 | RaN | 0.13076 | IMPNRGZ
elc_spv_POL_004 | RaP | 0.031095 | IMPNRGZ | elc_won_POL_004 | RaP | 0.021329 | IMPNRGZ | elc_wof_POL_004 | RaP | 0.022991 | IMPNRGZ
elc_spv_POL_004 | SaD | 0.35905 | IMPNRGZ | elc_won_POL_004 | SaD | 0.046599 | IMPNRGZ | elc_wof_POL_004 | SaD | 0.078756 | IMPNRGZ
elc_spv_POL_004 | SaN | 0.022329 | IMPNRGZ | elc_won_POL_004 | SaN | 0.064673 | IMPNRGZ | elc_wof_POL_004 | SaN | 0.084898 | IMPNRGZ
elc_spv_POL_004 | SaP | 0.046323 | IMPNRGZ | elc_won_POL_004 | SaP | 0.0087967 | IMPNRGZ | elc_wof_POL_004 | SaP | 0.014677 | IMPNRGZ
elc_spv_POL_004 | WaD | 0.068621 | IMPNRGZ | elc_won_POL_004 | WaD | 0.15285 | IMPNRGZ | elc_wof_POL_004 | WaD | 0.1343 | IMPNRGZ
elc_spv_POL_004 | WaN | 0 | IMPNRGZ | elc_won_POL_004 | WaN | 0.16324 | IMPNRGZ | elc_wof_POL_004 | WaN | 0.13141 | IMPNRGZ
elc_spv_POL_004 | WaP | 0.0012467 | IMPNRGZ | elc_won_POL_004 | WaP | 0.02992 | IMPNRGZ | elc_wof_POL_004 | WaP | 0.025126 | IMPNRGZ
elc_spv_POL_005 | FaD | 0.15273 | IMPNRGZ | elc_won_POL_005 | FaD | 0.11186 | IMPNRGZ | elc_wof_POL_005 | FaD | 0.12069 | IMPNRGZ
elc_spv_POL_005 | FaN | 5.5126e-05 | IMPNRGZ | elc_won_POL_005 | FaN | 0.12568 | IMPNRGZ | elc_wof_POL_005 | FaN | 0.11788 | IMPNRGZ
elc_spv_POL_005 | FaP | 0.0075685 | IMPNRGZ | elc_won_POL_005 | FaP | 0.022696 | IMPNRGZ | elc_wof_POL_005 | FaP | 0.021978 | IMPNRGZ
elc_spv_POL_005 | RaD | 0.31081 | IMPNRGZ | elc_won_POL_005 | RaD | 0.10715 | IMPNRGZ | elc_wof_POL_005 | RaD | 0.11611 | IMPNRGZ
elc_spv_POL_005 | RaN | 0.0069659 | IMPNRGZ | elc_won_POL_005 | RaN | 0.13047 | IMPNRGZ | elc_wof_POL_005 | RaN | 0.12931 | IMPNRGZ
elc_spv_POL_005 | RaP | 0.031141 | IMPNRGZ | elc_won_POL_005 | RaP | 0.021007 | IMPNRGZ | elc_wof_POL_005 | RaP | 0.022729 | IMPNRGZ
elc_spv_POL_005 | SaD | 0.35628 | IMPNRGZ | elc_won_POL_005 | SaD | 0.059429 | IMPNRGZ | elc_wof_POL_005 | SaD | 0.077584 | IMPNRGZ
elc_spv_POL_005 | SaN | 0.022195 | IMPNRGZ | elc_won_POL_005 | SaN | 0.070948 | IMPNRGZ | elc_wof_POL_005 | SaN | 0.080976 | IMPNRGZ
elc_spv_POL_005 | SaP | 0.044659 | IMPNRGZ | elc_won_POL_005 | SaP | 0.012302 | IMPNRGZ | elc_wof_POL_005 | SaP | 0.014868 | IMPNRGZ
elc_spv_POL_005 | WaD | 0.066657 | IMPNRGZ | elc_won_POL_005 | WaD | 0.14964 | IMPNRGZ | elc_wof_POL_005 | WaD | 0.13686 | IMPNRGZ
elc_spv_POL_005 | WaN | 0 | IMPNRGZ | elc_won_POL_005 | WaN | 0.15984 | IMPNRGZ | elc_wof_POL_005 | WaN | 0.13569 | IMPNRGZ
elc_spv_POL_005 | WaP | 0.00093897 | IMPNRGZ | elc_won_POL_005 | WaP | 0.028983 | IMPNRGZ | elc_wof_POL_005 | WaP | 0.025322 | IMPNRGZ
elc_spv_POL_006 | FaD | 0.14194 | IMPNRGZ | elc_won_POL_006 | FaD | 0.11217 | IMPNRGZ | elc_wof_POL_006 | FaD | 0.11903 | IMPNRGZ
elc_spv_POL_006 | FaN | 0 | IMPNRGZ | elc_won_POL_006 | FaN | 0.12843 | IMPNRGZ | elc_wof_POL_006 | FaN | 0.11885 | IMPNRGZ
elc_spv_POL_006 | FaP | 0.0065742 | IMPNRGZ | elc_won_POL_006 | FaP | 0.023655 | IMPNRGZ | elc_wof_POL_006 | FaP | 0.021693 | IMPNRGZ
elc_spv_POL_006 | RaD | 0.33405 | IMPNRGZ | elc_won_POL_006 | RaD | 0.10555 | IMPNRGZ | elc_wof_POL_006 | RaD | 0.11558 | IMPNRGZ
elc_spv_POL_006 | RaN | 0.0070643 | IMPNRGZ | elc_won_POL_006 | RaN | 0.13505 | IMPNRGZ | elc_wof_POL_006 | RaN | 0.12689 | IMPNRGZ
elc_spv_POL_006 | RaP | 0.03079 | IMPNRGZ | elc_won_POL_006 | RaP | 0.019435 | IMPNRGZ | elc_wof_POL_006 | RaP | 0.022265 | IMPNRGZ
elc_spv_POL_006 | SaD | 0.35011 | IMPNRGZ | elc_won_POL_006 | SaD | 0.056876 | IMPNRGZ | elc_wof_POL_006 | SaD | 0.078454 | IMPNRGZ
elc_spv_POL_006 | SaN | 0.021838 | IMPNRGZ | elc_won_POL_006 | SaN | 0.073077 | IMPNRGZ | elc_wof_POL_006 | SaN | 0.079435 | IMPNRGZ
elc_spv_POL_006 | SaP | 0.042425 | IMPNRGZ | elc_won_POL_006 | SaP | 0.011522 | IMPNRGZ | elc_wof_POL_006 | SaP | 0.014283 | IMPNRGZ
elc_spv_POL_006 | WaD | 0.06458 | IMPNRGZ | elc_won_POL_006 | WaD | 0.14824 | IMPNRGZ | elc_wof_POL_006 | WaD | 0.13914 | IMPNRGZ
elc_spv_POL_006 | WaN | 0 | IMPNRGZ | elc_won_POL_006 | WaN | 0.15694 | IMPNRGZ | elc_wof_POL_006 | WaN | 0.13814 | IMPNRGZ
elc_spv_POL_006 | WaP | 0.00063254 | IMPNRGZ | elc_won_POL_006 | WaP | 0.029054 | IMPNRGZ | elc_wof_POL_006 | WaP | 0.026242 | IMPNRGZ
elc_spv_POL_007 | FaD | 0.1463 | IMPNRGZ | elc_won_POL_007 | FaD | 0.10718 | IMPNRGZ | elc_wof_POL_007 | FaD | 0.12283 | IMPNRGZ
elc_spv_POL_007 | FaN | 5.0957e-05 | IMPNRGZ | elc_won_POL_007 | FaN | 0.12499 | IMPNRGZ | elc_wof_POL_007 | FaN | 0.12838 | IMPNRGZ
elc_spv_POL_007 | FaP | 0.0088021 | IMPNRGZ | elc_won_POL_007 | FaP | 0.022456 | IMPNRGZ | elc_wof_POL_007 | FaP | 0.023726 | IMPNRGZ
elc_spv_POL_007 | RaD | 0.32533 | IMPNRGZ | elc_won_POL_007 | RaD | 0.10916 | IMPNRGZ | elc_wof_POL_007 | RaD | 0.10442 | IMPNRGZ
elc_spv_POL_007 | RaN | 0.008498 | IMPNRGZ | elc_won_POL_007 | RaN | 0.13435 | IMPNRGZ | elc_wof_POL_007 | RaN | 0.11629 | IMPNRGZ
elc_spv_POL_007 | RaP | 0.036341 | IMPNRGZ | elc_won_POL_007 | RaP | 0.021348 | IMPNRGZ | elc_wof_POL_007 | RaP | 0.020773 | IMPNRGZ
elc_spv_POL_007 | SaD | 0.33844 | IMPNRGZ | elc_won_POL_007 | SaD | 0.05605 | IMPNRGZ | elc_wof_POL_007 | SaD | 0.077621 | IMPNRGZ
elc_spv_POL_007 | SaN | 0.02413 | IMPNRGZ | elc_won_POL_007 | SaN | 0.070987 | IMPNRGZ | elc_wof_POL_007 | SaN | 0.080298 | IMPNRGZ
elc_spv_POL_007 | SaP | 0.048327 | IMPNRGZ | elc_won_POL_007 | SaP | 0.012357 | IMPNRGZ | elc_wof_POL_007 | SaP | 0.014129 | IMPNRGZ
elc_spv_POL_007 | WaD | 0.062623 | IMPNRGZ | elc_won_POL_007 | WaD | 0.15108 | IMPNRGZ | elc_wof_POL_007 | WaD | 0.14339 | IMPNRGZ
elc_spv_POL_007 | WaN | 0 | IMPNRGZ | elc_won_POL_007 | WaN | 0.16106 | IMPNRGZ | elc_wof_POL_007 | WaN | 0.14049 | IMPNRGZ
elc_spv_POL_007 | WaP | 0.0011451 | IMPNRGZ | elc_won_POL_007 | WaP | 0.028974 | IMPNRGZ | elc_wof_POL_007 | WaP | 0.027648 | IMPNRGZ
elc_spv_POL_008 | FaD | 0.1478 | IMPNRGZ | elc_won_POL_008 | FaD | 0.11503 | IMPNRGZ | elc_wof_POL_008 | FaD | 0.11709 | IMPNRGZ
elc_spv_POL_008 | FaN | 0 | IMPNRGZ | elc_won_POL_008 | FaN | 0.12934 | IMPNRGZ | elc_wof_POL_008 | FaN | 0.12245 | IMPNRGZ
elc_spv_POL_008 | FaP | 0.0074365 | IMPNRGZ | elc_won_POL_008 | FaP | 0.022893 | IMPNRGZ | elc_wof_POL_008 | FaP | 0.022437 | IMPNRGZ
elc_spv_POL_008 | RaD | 0.33548 | IMPNRGZ | elc_won_POL_008 | RaD | 0.1027 | IMPNRGZ | elc_wof_POL_008 | RaD | 0.1123 | IMPNRGZ
elc_spv_POL_008 | RaN | 0.0071655 | IMPNRGZ | elc_won_POL_008 | RaN | 0.12291 | IMPNRGZ | elc_wof_POL_008 | RaN | 0.12303 | IMPNRGZ
elc_spv_POL_008 | RaP | 0.032379 | IMPNRGZ | elc_won_POL_008 | RaP | 0.019347 | IMPNRGZ | elc_wof_POL_008 | RaP | 0.022094 | IMPNRGZ
elc_spv_POL_008 | SaD | 0.3388 | IMPNRGZ | elc_won_POL_008 | SaD | 0.064249 | IMPNRGZ | elc_wof_POL_008 | SaD | 0.079831 | IMPNRGZ
elc_spv_POL_008 | SaN | 0.021126 | IMPNRGZ | elc_won_POL_008 | SaN | 0.06958 | IMPNRGZ | elc_wof_POL_008 | SaN | 0.088843 | IMPNRGZ
elc_spv_POL_008 | SaP | 0.042076 | IMPNRGZ | elc_won_POL_008 | SaP | 0.012865 | IMPNRGZ | elc_wof_POL_008 | SaP | 0.01615 | IMPNRGZ
elc_spv_POL_008 | WaD | 0.066968 | IMPNRGZ | elc_won_POL_008 | WaD | 0.14849 | IMPNRGZ | elc_wof_POL_008 | WaD | 0.13517 | IMPNRGZ
elc_spv_POL_008 | WaN | 0 | IMPNRGZ | elc_won_POL_008 | WaN | 0.16337 | IMPNRGZ | elc_wof_POL_008 | WaN | 0.13423 | IMPNRGZ
elc_spv_POL_008 | WaP | 0.00077116 | IMPNRGZ | elc_won_POL_008 | WaP | 0.029231 | IMPNRGZ | elc_wof_POL_008 | WaP | 0.026385 | IMPNRGZ
elc_spv_POL_009 | FaD | 0.14704 | IMPNRGZ | elc_won_POL_009 | FaD | 0.11681 | IMPNRGZ | elc_wof_POL_009 | FaD | 0.11774 | IMPNRGZ
elc_spv_POL_009 | FaN | 0 | IMPNRGZ | elc_won_POL_009 | FaN | 0.13033 | IMPNRGZ | elc_wof_POL_009 | FaN | 0.12124 | IMPNRGZ
elc_spv_POL_009 | FaP | 0.0058855 | IMPNRGZ | elc_won_POL_009 | FaP | 0.023662 | IMPNRGZ | elc_wof_POL_009 | FaP | 0.021693 | IMPNRGZ
elc_spv_POL_009 | RaD | 0.31846 | IMPNRGZ | elc_won_POL_009 | RaD | 0.10079 | IMPNRGZ | elc_wof_POL_009 | RaD | 0.11677 | IMPNRGZ
elc_spv_POL_009 | RaN | 0.0070973 | IMPNRGZ | elc_won_POL_009 | RaN | 0.12338 | IMPNRGZ | elc_wof_POL_009 | RaN | 0.12717 | IMPNRGZ
elc_spv_POL_009 | RaP | 0.026218 | IMPNRGZ | elc_won_POL_009 | RaP | 0.019434 | IMPNRGZ | elc_wof_POL_009 | RaP | 0.022373 | IMPNRGZ
elc_spv_POL_009 | SaD | 0.35666 | IMPNRGZ | elc_won_POL_009 | SaD | 0.065515 | IMPNRGZ | elc_wof_POL_009 | SaD | 0.078328 | IMPNRGZ
elc_spv_POL_009 | SaN | 0.020586 | IMPNRGZ | elc_won_POL_009 | SaN | 0.070464 | IMPNRGZ | elc_wof_POL_009 | SaN | 0.085592 | IMPNRGZ
elc_spv_POL_009 | SaP | 0.038983 | IMPNRGZ | elc_won_POL_009 | SaP | 0.012771 | IMPNRGZ | elc_wof_POL_009 | SaP | 0.015013 | IMPNRGZ
elc_spv_POL_009 | WaD | 0.078401 | IMPNRGZ | elc_won_POL_009 | WaD | 0.14968 | IMPNRGZ | elc_wof_POL_009 | WaD | 0.13521 | IMPNRGZ
elc_spv_POL_009 | WaN | 0 | IMPNRGZ | elc_won_POL_009 | WaN | 0.15835 | IMPNRGZ | elc_wof_POL_009 | WaN | 0.133 | IMPNRGZ
elc_spv_POL_009 | WaP | 0.00066824 | IMPNRGZ | elc_won_POL_009 | WaP | 0.028818 | IMPNRGZ | elc_wof_POL_009 | WaP | 0.025873 | IMPNRGZ
elc_spv_POL_010 | FaD | 0.13073 | IMPNRGZ | elc_won_POL_010 | FaD | 0.12473 | IMPNRGZ | elc_wof_POL_010 | FaD | 0.11998 | IMPNRGZ
elc_spv_POL_010 | FaN | 0 | IMPNRGZ | elc_won_POL_010 | FaN | 0.13256 | IMPNRGZ | elc_wof_POL_010 | FaN | 0.12601 | IMPNRGZ
elc_spv_POL_010 | FaP | 0.0058974 | IMPNRGZ | elc_won_POL_010 | FaP | 0.023678 | IMPNRGZ | elc_wof_POL_010 | FaP | 0.022641 | IMPNRGZ
elc_spv_POL_010 | RaD | 0.34286 | IMPNRGZ | elc_won_POL_010 | RaD | 0.10521 | IMPNRGZ | elc_wof_POL_010 | RaD | 0.1105 | IMPNRGZ
elc_spv_POL_010 | RaN | 0.0082152 | IMPNRGZ | elc_won_POL_010 | RaN | 0.11839 | IMPNRGZ | elc_wof_POL_010 | RaN | 0.1201 | IMPNRGZ
elc_spv_POL_010 | RaP | 0.029306 | IMPNRGZ | elc_won_POL_010 | RaP | 0.018714 | IMPNRGZ | elc_wof_POL_010 | RaP | 0.021156 | IMPNRGZ
elc_spv_POL_010 | SaD | 0.35109 | IMPNRGZ | elc_won_POL_010 | SaD | 0.077276 | IMPNRGZ | elc_wof_POL_010 | SaD | 0.078637 | IMPNRGZ
elc_spv_POL_010 | SaN | 0.022996 | IMPNRGZ | elc_won_POL_010 | SaN | 0.07231 | IMPNRGZ | elc_wof_POL_010 | SaN | 0.082669 | IMPNRGZ
elc_spv_POL_010 | SaP | 0.041663 | IMPNRGZ | elc_won_POL_010 | SaP | 0.013196 | IMPNRGZ | elc_wof_POL_010 | SaP | 0.014631 | IMPNRGZ
elc_spv_POL_010 | WaD | 0.066596 | IMPNRGZ | elc_won_POL_010 | WaD | 0.14388 | IMPNRGZ | elc_wof_POL_010 | WaD | 0.14 | IMPNRGZ
elc_spv_POL_010 | WaN | 0 | IMPNRGZ | elc_won_POL_010 | WaN | 0.14265 | IMPNRGZ | elc_wof_POL_010 | WaN | 0.13678 | IMPNRGZ
elc_spv_POL_010 | WaP | 0.00063965 | IMPNRGZ | elc_won_POL_010 | WaP | 0.027417 | IMPNRGZ | elc_wof_POL_010 | WaP | 0.026897 | IMPNRGZ
elc_spv_POL_011 | FaD | 0.13806 | IMPNRGZ | elc_won_POL_011 | FaD | 0.13382 | IMPNRGZ
elc_spv_POL_011 | FaN | 0 | IMPNRGZ | elc_won_POL_011 | FaN | 0.13722 | IMPNRGZ
elc_spv_POL_011 | FaP | 0.005964 | IMPNRGZ | elc_won_POL_011 | FaP | 0.023042 | IMPNRGZ
elc_spv_POL_011 | RaD | 0.33124 | IMPNRGZ | elc_won_POL_011 | RaD | 0.097922 | IMPNRGZ
elc_spv_POL_011 | RaN | 0.0074004 | IMPNRGZ | elc_won_POL_011 | RaN | 0.10905 | IMPNRGZ
elc_spv_POL_011 | RaP | 0.026942 | IMPNRGZ | elc_won_POL_011 | RaP | 0.018541 | IMPNRGZ
elc_spv_POL_011 | SaD | 0.3565 | IMPNRGZ | elc_won_POL_011 | SaD | 0.06144 | IMPNRGZ
elc_spv_POL_011 | SaN | 0.022151 | IMPNRGZ | elc_won_POL_011 | SaN | 0.072846 | IMPNRGZ
elc_spv_POL_011 | SaP | 0.03996 | IMPNRGZ | elc_won_POL_011 | SaP | 0.010115 | IMPNRGZ
elc_spv_POL_011 | WaD | 0.071067 | IMPNRGZ | elc_won_POL_011 | WaD | 0.15375 | IMPNRGZ
elc_spv_POL_011 | WaN | 0 | IMPNRGZ | elc_won_POL_011 | WaN | 0.15216 | IMPNRGZ
elc_spv_POL_011 | WaP | 0.00072006 | IMPNRGZ | elc_won_POL_011 | WaP | 0.030097 | IMPNRGZ
elc_spv_POL_012 | FaD | 0.17667 | IMPNRGZ | elc_won_POL_012 | FaD | 0.12487 | IMPNRGZ
elc_spv_POL_012 | FaN | 0 | IMPNRGZ | elc_won_POL_012 | FaN | 0.13719 | IMPNRGZ
elc_spv_POL_012 | FaP | 0.0065594 | IMPNRGZ | elc_won_POL_012 | FaP | 0.024032 | IMPNRGZ
elc_spv_POL_012 | RaD | 0.29317 | IMPNRGZ | elc_won_POL_012 | RaD | 0.092343 | IMPNRGZ
elc_spv_POL_012 | RaN | 0.0047294 | IMPNRGZ | elc_won_POL_012 | RaN | 0.12123 | IMPNRGZ
elc_spv_POL_012 | RaP | 0.0237 | IMPNRGZ | elc_won_POL_012 | RaP | 0.017786 | IMPNRGZ
elc_spv_POL_012 | SaD | 0.34165 | IMPNRGZ | elc_won_POL_012 | SaD | 0.06991 | IMPNRGZ
elc_spv_POL_012 | SaN | 0.013959 | IMPNRGZ | elc_won_POL_012 | SaN | 0.080204 | IMPNRGZ
elc_spv_POL_012 | SaP | 0.036445 | IMPNRGZ | elc_won_POL_012 | SaP | 0.011884 | IMPNRGZ
elc_spv_POL_012 | WaD | 0.10213 | IMPNRGZ | elc_won_POL_012 | WaD | 0.14632 | IMPNRGZ
elc_spv_POL_012 | WaN | 0 | IMPNRGZ | elc_won_POL_012 | WaN | 0.14644 | IMPNRGZ
elc_spv_POL_012 | WaP | 0.00098027 | IMPNRGZ | elc_won_POL_012 | WaP | 0.027789 | IMPNRGZ
elc_spv_POL_013 | FaD | 0.16566 | IMPNRGZ | elc_won_POL_013 | FaD | 0.12306 | IMPNRGZ
elc_spv_POL_013 | FaN | 0 | IMPNRGZ | elc_won_POL_013 | FaN | 0.13826 | IMPNRGZ
elc_spv_POL_013 | FaP | 0.0055113 | IMPNRGZ | elc_won_POL_013 | FaP | 0.024074 | IMPNRGZ
elc_spv_POL_013 | RaD | 0.30534 | IMPNRGZ | elc_won_POL_013 | RaD | 0.098493 | IMPNRGZ
elc_spv_POL_013 | RaN | 0.005635 | IMPNRGZ | elc_won_POL_013 | RaN | 0.12725 | IMPNRGZ
elc_spv_POL_013 | RaP | 0.024625 | IMPNRGZ | elc_won_POL_013 | RaP | 0.018822 | IMPNRGZ
elc_spv_POL_013 | SaD | 0.35081 | IMPNRGZ | elc_won_POL_013 | SaD | 0.064419 | IMPNRGZ
elc_spv_POL_013 | SaN | 0.015602 | IMPNRGZ | elc_won_POL_013 | SaN | 0.081068 | IMPNRGZ
elc_spv_POL_013 | SaP | 0.036261 | IMPNRGZ | elc_won_POL_013 | SaP | 0.011007 | IMPNRGZ
elc_spv_POL_013 | WaD | 0.089964 | IMPNRGZ | elc_won_POL_013 | WaD | 0.14072 | IMPNRGZ
elc_spv_POL_013 | WaN | 0 | IMPNRGZ | elc_won_POL_013 | WaN | 0.14554 | IMPNRGZ
elc_spv_POL_013 | WaP | 0.00058613 | IMPNRGZ | elc_won_POL_013 | WaP | 0.027289 | IMPNRGZ
elc_spv_POL_014 | FaD | 0.17769 | IMPNRGZ | elc_won_POL_014 | FaD | 0.12142 | IMPNRGZ
elc_spv_POL_014 | FaN | 0 | IMPNRGZ | elc_won_POL_014 | FaN | 0.13175 | IMPNRGZ
elc_spv_POL_014 | FaP | 0.0078472 | IMPNRGZ | elc_won_POL_014 | FaP | 0.024846 | IMPNRGZ
elc_spv_POL_014 | RaD | 0.28489 | IMPNRGZ | elc_won_POL_014 | RaD | 0.10118 | IMPNRGZ
elc_spv_POL_014 | RaN | 0.0045109 | IMPNRGZ | elc_won_POL_014 | RaN | 0.1291 | IMPNRGZ
elc_spv_POL_014 | RaP | 0.026486 | IMPNRGZ | elc_won_POL_014 | RaP | 0.018465 | IMPNRGZ
elc_spv_POL_014 | SaD | 0.34003 | IMPNRGZ | elc_won_POL_014 | SaD | 0.066886 | IMPNRGZ
elc_spv_POL_014 | SaN | 0.014881 | IMPNRGZ | elc_won_POL_014 | SaN | 0.074684 | IMPNRGZ
elc_spv_POL_014 | SaP | 0.037583 | IMPNRGZ | elc_won_POL_014 | SaP | 0.012407 | IMPNRGZ
elc_spv_POL_014 | WaD | 0.10471 | IMPNRGZ | elc_won_POL_014 | WaD | 0.14367 | IMPNRGZ
elc_spv_POL_014 | WaN | 0 | IMPNRGZ | elc_won_POL_014 | WaN | 0.14744 | IMPNRGZ
elc_spv_POL_014 | WaP | 0.0013709 | IMPNRGZ | elc_won_POL_014 | WaP | 0.028154 | IMPNRGZ
elc_spv_POL_015 | FaD | 0.17527 | IMPNRGZ | elc_won_POL_015 | FaD | 0.12402 | IMPNRGZ
elc_spv_POL_015 | FaN | 0 | IMPNRGZ | elc_won_POL_015 | FaN | 0.11726 | IMPNRGZ
elc_spv_POL_015 | FaP | 0.0082289 | IMPNRGZ | elc_won_POL_015 | FaP | 0.026453 | IMPNRGZ
elc_spv_POL_015 | RaD | 0.28291 | IMPNRGZ | elc_won_POL_015 | RaD | 0.1166 | IMPNRGZ
elc_spv_POL_015 | RaN | 0.0050538 | IMPNRGZ | elc_won_POL_015 | RaN | 0.10329 | IMPNRGZ
elc_spv_POL_015 | RaP | 0.027306 | IMPNRGZ | elc_won_POL_015 | RaP | 0.022698 | IMPNRGZ
elc_spv_POL_015 | SaD | 0.34999 | IMPNRGZ | elc_won_POL_015 | SaD | 0.056227 | IMPNRGZ
elc_spv_POL_015 | SaN | 0.016649 | IMPNRGZ | elc_won_POL_015 | SaN | 0.03503 | IMPNRGZ
elc_spv_POL_015 | SaP | 0.040976 | IMPNRGZ | elc_won_POL_015 | SaP | 0.012137 | IMPNRGZ
elc_spv_POL_015 | WaD | 0.092502 | IMPNRGZ | elc_won_POL_015 | WaD | 0.17602 | IMPNRGZ
elc_spv_POL_015 | WaN | 0 | IMPNRGZ | elc_won_POL_015 | WaN | 0.17647 | IMPNRGZ
elc_spv_POL_015 | WaP | 0.0011085 | IMPNRGZ | elc_won_POL_015 | WaP | 0.033796 | IMPNRGZ
elc_spv_POL_016 | FaD | 0.16501 | IMPNRGZ | elc_won_POL_016 | FaD | 0.12727 | IMPNRGZ
elc_spv_POL_016 | FaN | 0 | IMPNRGZ | elc_won_POL_016 | FaN | 0.1359 | IMPNRGZ
elc_spv_POL_016 | FaP | 0.0075378 | IMPNRGZ | elc_won_POL_016 | FaP | 0.024029 | IMPNRGZ
elc_spv_POL_016 | RaD | 0.29812 | IMPNRGZ | elc_won_POL_016 | RaD | 0.10596 | IMPNRGZ
elc_spv_POL_016 | RaN | 0.0061924 | IMPNRGZ | elc_won_POL_016 | RaN | 0.1124 | IMPNRGZ
elc_spv_POL_016 | RaP | 0.028062 | IMPNRGZ | elc_won_POL_016 | RaP | 0.020332 | IMPNRGZ
elc_spv_POL_016 | SaD | 0.35753 | IMPNRGZ | elc_won_POL_016 | SaD | 0.046622 | IMPNRGZ
elc_spv_POL_016 | SaN | 0.01953 | IMPNRGZ | elc_won_POL_016 | SaN | 0.050465 | IMPNRGZ
elc_spv_POL_016 | SaP | 0.042727 | IMPNRGZ | elc_won_POL_016 | SaP | 0.0085209 | IMPNRGZ
elc_spv_POL_016 | WaD | 0.074625 | IMPNRGZ | elc_won_POL_016 | WaD | 0.16347 | IMPNRGZ
elc_spv_POL_016 | WaN | 0 | IMPNRGZ | elc_won_POL_016 | WaN | 0.17249 | IMPNRGZ
elc_spv_POL_016 | WaP | 0.00066194 | IMPNRGZ | elc_won_POL_016 | WaP | 0.03255 | IMPNRGZ
elc_spv_POL_017 | FaD | 0.15611 | IMPNRGZ | elc_won_POL_017 | FaD | 0.12018 | IMPNRGZ
elc_spv_POL_017 | FaN | 0 | IMPNRGZ | elc_won_POL_017 | FaN | 0.13116 | IMPNRGZ
elc_spv_POL_017 | FaP | 0.0076465 | IMPNRGZ | elc_won_POL_017 | FaP | 0.026556 | IMPNRGZ
elc_spv_POL_017 | RaD | 0.31262 | IMPNRGZ | elc_won_POL_017 | RaD | 0.112 | IMPNRGZ
elc_spv_POL_017 | RaN | 0.0065885 | IMPNRGZ | elc_won_POL_017 | RaN | 0.11958 | IMPNRGZ
elc_spv_POL_017 | RaP | 0.028824 | IMPNRGZ | elc_won_POL_017 | RaP | 0.02099 | IMPNRGZ
elc_spv_POL_017 | SaD | 0.35473 | IMPNRGZ | elc_won_POL_017 | SaD | 0.055799 | IMPNRGZ
elc_spv_POL_017 | SaN | 0.020596 | IMPNRGZ | elc_won_POL_017 | SaN | 0.058085 | IMPNRGZ
elc_spv_POL_017 | SaP | 0.042624 | IMPNRGZ | elc_won_POL_017 | SaP | 0.011664 | IMPNRGZ
elc_spv_POL_017 | WaD | 0.069586 | IMPNRGZ | elc_won_POL_017 | WaD | 0.15299 | IMPNRGZ
elc_spv_POL_017 | WaN | 0 | IMPNRGZ | elc_won_POL_017 | WaN | 0.16063 | IMPNRGZ
elc_spv_POL_017 | WaP | 0.00067835 | IMPNRGZ | elc_won_POL_017 | WaP | 0.030368 | IMPNRGZ
elc_spv_POL_018 | FaD | 0.15334 | IMPNRGZ | elc_won_POL_018 | FaD | 0.1308 | IMPNRGZ
elc_spv_POL_018 | FaN | 0 | IMPNRGZ | elc_won_POL_018 | FaN | 0.12492 | IMPNRGZ
elc_spv_POL_018 | FaP | 0.0063883 | IMPNRGZ | elc_won_POL_018 | FaP | 0.024276 | IMPNRGZ
elc_spv_POL_018 | RaD | 0.30412 | IMPNRGZ | elc_won_POL_018 | RaD | 0.11684 | IMPNRGZ
elc_spv_POL_018 | RaN | 0.0062349 | IMPNRGZ | elc_won_POL_018 | RaN | 0.11523 | IMPNRGZ
elc_spv_POL_018 | RaP | 0.026304 | IMPNRGZ | elc_won_POL_018 | RaP | 0.022129 | IMPNRGZ
elc_spv_POL_018 | SaD | 0.36774 | IMPNRGZ | elc_won_POL_018 | SaD | 0.062653 | IMPNRGZ
elc_spv_POL_018 | SaN | 0.019889 | IMPNRGZ | elc_won_POL_018 | SaN | 0.063243 | IMPNRGZ
elc_spv_POL_018 | SaP | 0.041663 | IMPNRGZ | elc_won_POL_018 | SaP | 0.01104 | IMPNRGZ
elc_spv_POL_018 | WaD | 0.073762 | IMPNRGZ | elc_won_POL_018 | WaD | 0.14821 | IMPNRGZ
elc_spv_POL_018 | WaN | 0 | IMPNRGZ | elc_won_POL_018 | WaN | 0.1511 | IMPNRGZ
elc_spv_POL_018 | WaP | 0.00055386 | IMPNRGZ | elc_won_POL_018 | WaP | 0.02956 | IMPNRGZ
elc_spv_POL_019 | FaD | 0.16336 | IMPNRGZ | elc_won_POL_019 | FaD | 0.11549 | IMPNRGZ
elc_spv_POL_019 | FaN | 0 | IMPNRGZ | elc_won_POL_019 | FaN | 0.12877 | IMPNRGZ
elc_spv_POL_019 | FaP | 0.0068624 | IMPNRGZ | elc_won_POL_019 | FaP | 0.026012 | IMPNRGZ
elc_spv_POL_019 | RaD | 0.29403 | IMPNRGZ | elc_won_POL_019 | RaD | 0.097536 | IMPNRGZ
elc_spv_POL_019 | RaN | 0.0051484 | IMPNRGZ | elc_won_POL_019 | RaN | 0.12429 | IMPNRGZ
elc_spv_POL_019 | RaP | 0.024946 | IMPNRGZ | elc_won_POL_019 | RaP | 0.020004 | IMPNRGZ
elc_spv_POL_019 | SaD | 0.36232 | IMPNRGZ | elc_won_POL_019 | SaD | 0.054195 | IMPNRGZ
elc_spv_POL_019 | SaN | 0.017633 | IMPNRGZ | elc_won_POL_019 | SaN | 0.063403 | IMPNRGZ
elc_spv_POL_019 | SaP | 0.039634 | IMPNRGZ | elc_won_POL_019 | SaP | 0.010098 | IMPNRGZ
elc_spv_POL_019 | WaD | 0.085363 | IMPNRGZ | elc_won_POL_019 | WaD | 0.1617 | IMPNRGZ
elc_spv_POL_019 | WaN | 0 | IMPNRGZ | elc_won_POL_019 | WaN | 0.16571 | IMPNRGZ
elc_spv_POL_019 | WaP | 0.00070699 | IMPNRGZ | elc_won_POL_019 | WaP | 0.032784 | IMPNRGZ
elc_spv_POL_020 | FaD | 0.15717 | IMPNRGZ | elc_won_POL_020 | FaD | 0.12058 | IMPNRGZ
elc_spv_POL_020 | FaN | 0 | IMPNRGZ | elc_won_POL_020 | FaN | 0.1261 | IMPNRGZ
elc_spv_POL_020 | FaP | 0.0061394 | IMPNRGZ | elc_won_POL_020 | FaP | 0.02414 | IMPNRGZ
elc_spv_POL_020 | RaD | 0.30289 | IMPNRGZ | elc_won_POL_020 | RaD | 0.10355 | IMPNRGZ
elc_spv_POL_020 | RaN | 0.0059067 | IMPNRGZ | elc_won_POL_020 | RaN | 0.12038 | IMPNRGZ
elc_spv_POL_020 | RaP | 0.026 | IMPNRGZ | elc_won_POL_020 | RaP | 0.019777 | IMPNRGZ
elc_spv_POL_020 | SaD | 0.36417 | IMPNRGZ | elc_won_POL_020 | SaD | 0.054133 | IMPNRGZ
elc_spv_POL_020 | SaN | 0.018596 | IMPNRGZ | elc_won_POL_020 | SaN | 0.059743 | IMPNRGZ
elc_spv_POL_020 | SaP | 0.040589 | IMPNRGZ | elc_won_POL_020 | SaP | 0.0091764 | IMPNRGZ
elc_spv_POL_020 | WaD | 0.078039 | IMPNRGZ | elc_won_POL_020 | WaD | 0.16301 | IMPNRGZ
elc_spv_POL_020 | WaN | 0 | IMPNRGZ | elc_won_POL_020 | WaN | 0.16717 | IMPNRGZ
elc_spv_POL_020 | WaP | 0.00049277 | IMPNRGZ | elc_won_POL_020 | WaP | 0.032237 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT | [12 empty] | ~TFM_DINS-AT
process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | other_indexes | ncap_com
distr_solelc_spv_POL_001 | DEF_E | 0 | 0.44659 | 0.83254 | 0.90965 | 0.26913 | 0.29759 | 0.80553 | 0.18353 | 0.19466 | 0.997 | 0.39792 | 0.62061 | distr_sol* | ELC4H | 0 | 0.18603 | 0.11097 | 0.554 | 0.069593 | 0.0040398 | 0.39565 | 0.044483 | 0.0070162 | 0.025294 | 0.10543 | 0.024947 | distr_sol* | ELC8H | 0 | 0.053027 | 0.63683 | 0 | 0.044695 | 0.064528 | 0.0050674 | 0.025292 | 0.030457 | 0 | 0.092624 | 0.092773 | distr_solelc_spv_POL_001 | 0 | 0.093864 | 0.008919 | 0.0078355 | 0.33506 | 0.19451 | 0.023928 | 0.41382 | 0.29177 | 7.2923e-05 | 0.18336 | 0.0607 | distr_solelc_spv_POL_001 | DEF_C | OUT | 0.41325
distr_solelc_spv_POL_002 | DEF_E | 0 | 0.4078 | 0.85049 | 0.91659 | 0.27222 | 0.31879 | 0.81079 | 0.18161 | 0.19735 | 0.999 | 0.35915 | 0.64102 | distr_won* | ELC4H | 0.0048125 | 0.0025196 | 0.0088323 | 0.0093773 | 0.008293 | 0.014209 | 0.022659 | 0.0091741 | 0.0094065 | 0.0057294 | 0.0046235 | 0.0026617 | distr_won* | ELC8H | 0.015951 | 0.015388 | 0.0075003 | 0.024838 | 0.017287 | 0.025131 | 0.042863 | 0.015488 | 0.013844 | 0.015193 | 0.020728 | 0.008927 | distr_solelc_spv_POL_002 | 0 | 0.11523 | 0.010122 | 0.0065977 | 0.33814 | 0.19137 | 0.021594 | 0.42401 | 0.28629 | 7.4569e-07 | 0.20603 | 0.055849 | distr_solelc_spv_POL_002 | DEF_C | OUT | 0.42229
distr_solelc_spv_POL_003 | DEF_E | 0 | 0.42938 | 0.85435 | 0.91124 | 0.26521 | 0.31809 | 0.80742 | 0.17708 | 0.18058 | 0.999 | 0.3616 | 0.65006 | distr_wof* | ELC4H | 0.0079128 | 0.0049245 | 0.010875 | 0.0091776 | 0.010429 | 0.002248 | 0.015997 | 0.016199 | 0.013678 | 0.0073883 | 0.0078303 | 0.0029992 | distr_wof* | ELC8H | 0.013176 | 0.019279 | 0.0054924 | 0.022148 | 0.017934 | 0.019482 | 0.034753 | 0.037493 | 0.047398 | 0.012252 | 0.018964 | 0.019927 | distr_solelc_spv_POL_003 | 0 | 0.098428 | 0.0068615 | 0.0077529 | 0.33831 | 0.19353 | 0.023049 | 0.4204 | 0.29024 | 2.5132e-05 | 0.19538 | 0.05181 | distr_solelc_spv_POL_003 | DEF_C | OUT | 0.41991
distr_solelc_spv_POL_004 | DEF_E | 0 | 0.46704 | 0.85419 | 0.90506 | 0.25123 | 0.30937 | 0.8052 | 0.17938 | 0.19922 | 0.997 | 0.41604 | 0.64084 | [28 empty] | distr_solelc_spv_POL_004 | 0 | 0.082458 | 0.0082397 | 0.0080335 | 0.36222 | 0.20104 | 0.026248 | 0.42208 | 0.2995 | 0.00010194 | 0.17534 | 0.057153 | distr_solelc_spv_POL_004 | DEF_C | OUT | 0.42201
distr_solelc_spv_POL_005 | DEF_E | 0 | 0.46682 | 0.86068 | 0.90626 | 0.24754 | 0.31476 | 0.79385 | 0.16824 | 0.18619 | 0.998 | 0.39712 | 0.6552 | [28 empty] | distr_solelc_spv_POL_005 | 0 | 0.081202 | 0.0062912 | 0.0083014 | 0.3704 | 0.20412 | 0.02645 | 0.42459 | 0.29272 | 6.6417e-05 | 0.18402 | 0.050153 | distr_solelc_spv_POL_005 | DEF_C | OUT | 0.42373
distr_solelc_spv_POL_006 | DEF_E | 0 | 0.46656 | 0.91672 | 0.90975 | 0.22081 | 0.33229 | 0.77005 | 0.16205 | 0.18825 | 0 | 0.40019 | 0.72727 | [28 empty] | distr_solelc_spv_POL_006 | 0 | 0.080037 | 0.0043117 | 0.0085648 | 0.40501 | 0.20531 | 0.026476 | 0.42447 | 0.2829 | 0 | 0.17397 | 0.04432 | distr_solelc_spv_POL_006 | DEF_C | OUT | 0.41791
distr_solelc_spv_POL_007 | DEF_E | 0 | 0.48846 | 0.8809 | 0.90079 | 0.22084 | 0.28146 | 0.78983 | 0.16665 | 0.17943 | 0.997 | 0.40405 | 0.66931 | [28 empty] | distr_solelc_spv_POL_007 | 0 | 0.080128 | 0.0080584 | 0.010637 | 0.40722 | 0.25018 | 0.030204 | 0.42364 | 0.3327 | 6.4484e-05 | 0.18514 | 0.061263 | distr_solelc_spv_POL_007 | DEF_C | OUT | 0.42256
distr_solelc_spv_POL_008 | DEF_E | 0 | 0.47535 | 0.89494 | 0.90999 | 0.21622 | 0.31261 | 0.78086 | 0.16642 | 0.19294 | 0 | 0.39805 | 0.70074 | [28 empty] | distr_solelc_spv_POL_008 | 0 | 0.084899 | 0.005377 | 0.0088866 | 0.41606 | 0.22086 | 0.0262 | 0.42018 | 0.28701 | 0 | 0.18531 | 0.051283 | distr_solelc_spv_POL_008 | DEF_C | OUT | 0.41663
distr_solelc_spv_POL_009 | DEF_E | 0 | 0.44848 | 0.92746 | 0.92154 | 0.24894 | 0.37672 | 0.77719 | 0.15228 | 0.18783 | 0 | 0.38421 | 0.75837 | [28 empty] | distr_solelc_spv_POL_009 | 0 | 0.096702 | 0.0045332 | 0.0085636 | 0.38426 | 0.17399 | 0.02484 | 0.43035 | 0.25871 | 0 | 0.17936 | 0.039487 | distr_solelc_spv_POL_009 | DEF_C | OUT | 0.42138
distr_solelc_spv_POL_010 | DEF_E | 0 | 0.48021 | 0.93583 | 0.90844 | 0.22128 | 0.35627 | 0.76494 | 0.16443 | 0.18802 | 0 | 0.44099 | 0.76936 | [28 empty] | distr_solelc_spv_POL_010 | 0 | 0.080874 | 0.0042723 | 0.0097596 | 0.40732 | 0.19148 | 0.027319 | 0.41709 | 0.27222 | 0 | 0.15702 | 0.038956 | distr_solelc_spv_POL_010 | DEF_C | OUT | 0.40964
distr_solelc_spv_POL_011 | DEF_E | 0 | 0.46435 | 0.93666 | 0.90697 | 0.23316 | 0.36415 | 0.76246 | 0.15246 | 0.18484 | 0 | 0.41758 | 0.75606 | [28 empty] | distr_solelc_spv_POL_011 | 0 | 0.087033 | 0.0048501 | 0.0088659 | 0.39683 | 0.17753 | 0.026537 | 0.4271 | 0.26331 | 0 | 0.16722 | 0.03973 | distr_solelc_spv_POL_011 | DEF_C | OUT | 0.41175
distr_solelc_spv_POL_012 | DEF_E | 0 | 0.42472 | 0.90704 | 0.92975 | 0.26455 | 0.38609 | 0.84388 | 0.17402 | 0.21494 | 0 | 0.33665 | 0.71454 | [28 empty] | distr_solelc_spv_POL_012 | 0 | 0.12984 | 0.006854 | 0.0058816 | 0.36459 | 0.16211 | 0.01736 | 0.42489 | 0.24928 | 0 | 0.22213 | 0.045359 | distr_solelc_spv_POL_012 | DEF_C | OUT | 0.42169
distr_solelc_spv_POL_013 | DEF_E | 0 | 0.43649 | 0.91711 | 0.92446 | 0.24969 | 0.36401 | 0.81051 | 0.15382 | 0.19711 | 0 | 0.33888 | 0.72892 | [28 empty] | distr_solelc_spv_POL_013 | 0 | 0.11375 | 0.004076 | 0.00697 | 0.37768 | 0.16752 | 0.019298 | 0.43392 | 0.24668 | 0 | 0.20716 | 0.037905 | distr_solelc_spv_POL_013 | DEF_C | OUT | 0.42501
distr_solelc_spv_POL_014 | DEF_E | 0 | 0.41418 | 0.87693 | 0.93194 | 0.25824 | 0.345 | 0.82219 | 0.18254 | 0.2032 | 0 | 0.3396 | 0.67574 | [28 empty] | distr_solelc_spv_POL_014 | 0 | 0.13147 | 0.0094668 | 0.0055405 | 0.34992 | 0.17892 | 0.018278 | 0.41765 | 0.25389 | 0 | 0.22064 | 0.053594 | distr_solelc_spv_POL_014 | DEF_C | OUT | 0.41646
distr_solelc_spv_POL_015 | DEF_E | 0 | 0.41188 | 0.86512 | 0.9248 | 0.27314 | 0.33559 | 0.81259 | 0.17468 | 0.19755 | 0 | 0.34381 | 0.654 | [28 empty] | distr_solelc_spv_POL_015 | 0 | 0.1145 | 0.0075468 | 0.0061197 | 0.34258 | 0.18186 | 0.02016 | 0.4238 | 0.2729 | 0 | 0.21457 | 0.055406 | distr_solelc_spv_POL_015 | DEF_C | OUT | 0.42066
distr_solelc_spv_POL_016 | DEF_E | 0 | 0.4444 | 0.87529 | 0.91821 | 0.26125 | 0.32482 | 0.8055 | 0.16488 | 0.1851 | 0 | 0.36438 | 0.67294 | [28 empty] | distr_solelc_spv_POL_016 | 0 | 0.09127 | 0.0044527 | 0.007409 | 0.35669 | 0.18466 | 0.023367 | 0.42777 | 0.28117 | 0 | 0.1996 | 0.050148 | distr_solelc_spv_POL_016 | DEF_C | OUT | 0.42674
distr_solelc_spv_POL_017 | DEF_E | 0 | 0.46772 | 0.87786 | 0.91711 | 0.24979 | 0.32914 | 0.79614 | 0.16387 | 0.17767 | 0 | 0.38284 | 0.69716 | [28 empty] | distr_solelc_spv_POL_017 | 0 | 0.085171 | 0.0045665 | 0.0078888 | 0.37432 | 0.18982 | 0.02466 | 0.42473 | 0.2807 | 0 | 0.18898 | 0.050909 | distr_solelc_spv_POL_017 | DEF_C | OUT | 0.42397
distr_solelc_spv_POL_018 | DEF_E | 0 | 0.46159 | 0.90813 | 0.92279 | 0.25956 | 0.36284 | 0.78421 | 0.14986 | 0.19205 | 0 | 0.37197 | 0.71504 | [28 empty] | distr_solelc_spv_POL_018 | 0 | 0.090313 | 0.0037297 | 0.0074679 | 0.36427 | 0.17328 | 0.023822 | 0.44046 | 0.27446 | 0 | 0.18569 | 0.042547 | distr_solelc_spv_POL_018 | DEF_C | OUT | 0.43116
distr_solelc_spv_POL_019 | DEF_E | 0 | 0.4358 | 0.88435 | 0.92925 | 0.2638 | 0.36734 | 0.81187 | 0.15792 | 0.19676 | 0 | 0.35417 | 0.71015 | [28 empty] | distr_solelc_spv_POL_019 | 0 | 0.10426 | 0.0047494 | 0.0061517 | 0.35132 | 0.16394 | 0.021069 | 0.43293 | 0.26046 | 0 | 0.19734 | 0.045593 | distr_solelc_spv_POL_019 | DEF_C | OUT | 0.43192
distr_solelc_spv_POL_020 | DEF_E | 0 | 0.45574 | 0.90677 | 0.92662 | 0.26165 | 0.36484 | 0.78943 | 0.15042 | 0.19236 | 0 | 0.35461 | 0.72447 | [28 empty] | distr_solelc_spv_POL_020 | 0 | 0.095515 | 0.0033172 | 0.0070723 | 0.36267 | 0.17122 | 0.022266 | 0.43603 | 0.26729 | 0 | 0.19026 | 0.040874 | distr_solelc_spv_POL_020 | DEF_C | OUT | 0.43212
distr_wofelc_wof_POL_001 | DEF_E | 0.34664 | 0.35322 | 0.33871 | 0.33406 | 0.37879 | 0.38423 | 0.41703 | 0.46566 | 0.42129 | 0.3711 | 0.41162 | 0.38526 | [28 empty] | distr_wofelc_wof_POL_001 | 0.42175 | 0.39935 | 0.42105 | 0.30105 | 0.25072 | 0.27263 | 0.174 | 0.1671 | 0.18551 | 0.3355 | 0.30926 | 0.34382 | distr_wonelc_won_POL_001 | DEF_C | OUT | 0.42949
distr_wofelc_wof_POL_002 | DEF_E | 0.29005 | 0.29434 | 0.2668 | 0.30381 | 0.33481 | 0.32366 | 0.39109 | 0.41908 | 0.38934 | 0.34248 | 0.34922 | 0.34583 | [28 empty] | distr_wofelc_wof_POL_002 | 0.60275 | 0.59289 | 0.62234 | 0.52452 | 0.46249 | 0.49236 | 0.33418 | 0.31234 | 0.34338 | 0.50202 | 0.49356 | 0.51265 | distr_wonelc_won_POL_002 | DEF_C | OUT | 0.41665
distr_wofelc_wof_POL_003 | DEF_E | 0.31127 | 0.31705 | 0.2992 | 0.31943 | 0.35317 | 0.34375 | 0.41163 | 0.43932 | 0.39447 | 0.35497 | 0.37736 | 0.35837 | [28 empty] | distr_wofelc_wof_POL_003 | 0.53145 | 0.51 | 0.53961 | 0.41951 | 0.35711 | 0.38599 | 0.25726 | 0.24455 | 0.27397 | 0.43268 | 0.41205 | 0.44538 | distr_wonelc_won_POL_003 | DEF_C | OUT | 0.43224
distr_wofelc_wof_POL_004 | DEF_E | 0.29819 | 0.29801 | 0.27164 | 0.2776 | 0.33888 | 0.30362 | 0.35208 | 0.3745 | 0.37678 | 0.33682 | 0.3346 | 0.35542 | [28 empty] | distr_wofelc_wof_POL_004 | 0.5979 | 0.61103 | 0.62875 | 0.58201 | 0.52297 | 0.56282 | 0.37787 | 0.35053 | 0.3593 | 0.53524 | 0.538 | 0.52152 | distr_wonelc_won_POL_004 | DEF_C | OUT | 0.45649
distr_wofelc_wof_POL_005 | DEF_E | 0.29822 | 0.29205 | 0.27749 | 0.2918 | 0.34256 | 0.32323 | 0.36219 | 0.40925 | 0.38661 | 0.34318 | 0.33235 | 0.34009 | [28 empty] | distr_wofelc_wof_POL_005 | 0.60569 | 0.61093 | 0.62169 | 0.56467 | 0.50703 | 0.54589 | 0.3536 | 0.33879 | 0.35709 | 0.52041 | 0.53281 | 0.53366 | distr_wonelc_won_POL_005 | DEF_C | OUT | 0.44381
distr_wofelc_wof_POL_006 | DEF_E | 0.30071 | 0.30469 | 0.27434 | 0.29639 | 0.34047 | 0.32871 | 0.36362 | 0.39164 | 0.39708 | 0.34372 | 0.33933 | 0.35338 | [28 empty] | distr_wofelc_wof_POL_006 | 0.58652 | 0.59075 | 0.61279 | 0.52703 | 0.48008 | 0.50863 | 0.32994 | 0.32586 | 0.32627 | 0.49906 | 0.49984 | 0.50101 | distr_wonelc_won_POL_006 | DEF_C | OUT | 0.44197
distr_wofelc_wof_POL_007 | DEF_E | 0.32518 | 0.32675 | 0.29782 | 0.32441 | 0.36963 | 0.36298 | 0.40274 | 0.43852 | 0.43012 | 0.32966 | 0.35725 | 0.3516 | [28 empty] | distr_wofelc_wof_POL_007 | 0.47237 | 0.4821 | 0.51127 | 0.38249 | 0.34344 | 0.37579 | 0.26411 | 0.2553 | 0.25559 | 0.4269 | 0.40845 | 0.43392 | distr_wonelc_won_POL_007 | DEF_C | OUT | 0.45416
distr_wofelc_wof_POL_008 | DEF_E | 0.29275 | 0.29705 | 0.26339 | 0.30252 | 0.33978 | 0.34953 | 0.38893 | 0.42411 | 0.40522 | 0.30967 | 0.33831 | 0.31793 | [28 empty] | distr_wofelc_wof_POL_008 | 0.59409 | 0.59827 | 0.64231 | 0.53271 | 0.48623 | 0.52615 | 0.38468 | 0.34566 | 0.38459 | 0.53603 | 0.51255 | 0.54019 | distr_wonelc_won_POL_008 | DEF_C | OUT | 0.44829
distr_wofelc_wof_POL_009 | DEF_E | 0.28928 | 0.29765 | 0.26547 | 0.2852 | 0.3326 | 0.32767 | 0.37179 | 0.3854 | 0.39126 | 0.32016 | 0.33509 | 0.33064 | [28 empty] | distr_wofelc_wof_POL_009 | 0.6001 | 0.61008 | 0.64207 | 0.56134 | 0.51542 | 0.54316 | 0.37781 | 0.34574 | 0.36446 | 0.54104 | 0.52542 | 0.53243 | distr_wonelc_won_POL_009 | DEF_C | OUT | 0.46813
distr_wofelc_wof_POL_010 | DEF_E | 0.30466 | 0.31058 | 0.27706 | 0.31228 | 0.35445 | 0.35425 | 0.40143 | 0.41749 | 0.42165 | 0.32417 | 0.35014 | 0.33377 | [28 empty] | distr_wofelc_wof_POL_010 | 0.55953 | 0.57272 | 0.60516 | 0.4806 | 0.4422 | 0.46565 | 0.33083 | 0.31469 | 0.32202 | 0.50982 | 0.48541 | 0.50381 | distr_wonelc_won_POL_010 | DEF_C | OUT | 0.49182
distr_wonelc_won_POL_001 | DEF_E | 0.35076 | 0.37931 | 0.37562 | 0.31884 | 0.37476 | 0.37185 | 0.33314 | 0.44813 | 0.43212 | 0.35525 | 0.4113 | 0.37391 | [28 empty] | distr_wonelc_won_POL_001 | 0.42949 | 0.39566 | 0.42888 | 0.34752 | 0.26728 | 0.27837 | 0.18069 | 0.12383 | 0.13577 | 0.33353 | 0.2721 | 0.31878 | distr_wonelc_won_POL_011 | DEF_C | OUT | 0.38186
distr_wonelc_won_POL_002 | DEF_E | 0.3264 | 0.36653 | 0.3424 | 0.33632 | 0.42713 | 0.37299 | 0.32699 | 0.4586 | 0.42699 | 0.35488 | 0.43204 | 0.37141 | [28 empty] | distr_wonelc_won_POL_002 | 0.4079 | 0.37919 | 0.41774 | 0.32059 | 0.24906 | 0.27014 | 0.15981 | 0.11761 | 0.1382 | 0.31405 | 0.25605 | 0.31911 | distr_wonelc_won_POL_012 | DEF_C | OUT | 0.4081
distr_wonelc_won_POL_003 | DEF_E | 0.35257 | 0.35934 | 0.36065 | 0.33206 | 0.38854 | 0.39208 | 0.33565 | 0.46385 | 0.44939 | 0.38149 | 0.41404 | 0.37778 | [28 empty] | distr_wonelc_won_POL_003 | 0.43224 | 0.40839 | 0.43051 | 0.34271 | 0.29082 | 0.2927 | 0.17868 | 0.13303 | 0.14943 | 0.33289 | 0.27766 | 0.31943 | distr_wonelc_won_POL_013 | DEF_C | OUT | 0.38775
distr_wonelc_won_POL_004 | DEF_E | 0.31799 | 0.33883 | 0.3298 | 0.31997 | 0.41075 | 0.37594 | 0.34276 | 0.44695 | 0.38469 | 0.34219 | 0.4034 | 0.39236 | [28 empty] | distr_wonelc_won_POL_004 | 0.45424 | 0.42533 | 0.45793 | 0.36835 | 0.29849 | 0.31934 | 0.17606 | 0.12686 | 0.13171 | 0.36679 | 0.30688 | 0.34605 | distr_wonelc_won_POL_014 | DEF_C | OUT | 0.41319
distr_wonelc_won_POL_005 | DEF_E | 0.32672 | 0.34742 | 0.32458 | 0.3144 | 0.35489 | 0.3643 | 0.34329 | 0.47293 | 0.42164 | 0.37166 | 0.38894 | 0.37532 | [28 empty] | distr_wonelc_won_POL_005 | 0.44405 | 0.41573 | 0.44285 | 0.35458 | 0.29122 | 0.314 | 0.19282 | 0.16151 | 0.18388 | 0.34532 | 0.30734 | 0.34298 | distr_wonelc_won_POL_015 | DEF_C | OUT | 0.19755
distr_wonelc_won_POL_006 | DEF_E | 0.34436 | 0.37443 | 0.34972 | 0.30714 | 0.35802 | 0.37522 | 0.35045 | 0.44272 | 0.4193 | 0.34634 | 0.39095 | 0.3473 | [28 empty] | distr_wonelc_won_POL_006 | 0.43416 | 0.4101 | 0.44206 | 0.36548 | 0.28564 | 0.28927 | 0.19777 | 0.15392 | 0.17149 | 0.35137 | 0.3069 | 0.35596 | distr_wonelc_won_POL_016 | DEF_C | OUT | 0.47037
distr_wonelc_won_POL_007 | DEF_E | 0.33971 | 0.35107 | 0.34307 | 0.31962 | 0.36727 | 0.36633 | 0.34684 | 0.44947 | 0.41285 | 0.35715 | 0.41463 | 0.3663 | [28 empty] | distr_wonelc_won_POL_007 | 0.45416 | 0.426 | 0.44935 | 0.3706 | 0.30111 | 0.32389 | 0.19581 | 0.15461 | 0.18747 | 0.34857 | 0.29891 | 0.34444 | distr_wonelc_won_POL_017 | DEF_C | OUT | 0.32984
distr_wonelc_won_POL_008 | DEF_E | 0.33399 | 0.36018 | 0.33074 | 0.3301 | 0.38229 | 0.38434 | 0.37981 | 0.46131 | 0.39666 | 0.37277 | 0.40492 | 0.38705 | [28 empty] | distr_wonelc_won_POL_008 | 0.44829 | 0.40746 | 0.44116 | 0.32993 | 0.27569 | 0.28565 | 0.18678 | 0.17247 | 0.18994 | 0.35103 | 0.31218 | 0.34172 | distr_wonelc_won_POL_018 | DEF_C | OUT | 0.34306
distr_wonelc_won_POL_009 | DEF_E | 0.33638 | 0.34766 | 0.32656 | 0.31953 | 0.37382 | 0.36407 | 0.39668 | 0.46487 | 0.43711 | 0.34397 | 0.40645 | 0.37994 | [28 empty] | distr_wonelc_won_POL_009 | 0.46769 | 0.4421 | 0.46813 | 0.35649 | 0.29122 | 0.30884 | 0.2036 | 0.1893 | 0.20295 | 0.38069 | 0.34121 | 0.38015 | distr_wonelc_won_POL_019 | DEF_C | OUT | 0.39766
distr_wonelc_won_POL_010 | DEF_E | 0.3363 | 0.33405 | 0.31857 | 0.31887 | 0.3574 | 0.35331 | 0.35881 | 0.41773 | 0.38991 | 0.3199 | 0.34362 | 0.34242 | [28 empty] | distr_wonelc_won_POL_010 | 0.46526 | 0.46927 | 0.49183 | 0.37774 | 0.33569 | 0.32841 | 0.23072 | 0.24657 | 0.23158 | 0.42761 | 0.40235 | 0.42009 | distr_wonelc_won_POL_020 | DEF_C | OUT | 0.41152
distr_wonelc_won_POL_011 | DEF_E | 0.37543 | 0.40077 | 0.36254 | 0.34702 | 0.41878 | 0.37911 | 0.41805 | 0.50459 | 0.44357 | 0.36298 | 0.36168 | 0.38011 | [28 empty] | distr_wonelc_won_POL_011 | 0.3511 | 0.35475 | 0.38194 | 0.24614 | 0.22103 | 0.23018 | 0.16443 | 0.13868 | 0.12558 | 0.31314 | 0.30537 | 0.2892 | distr_wofelc_wof_POL_001 | DEF_C | OUT | 0.42175
distr_wonelc_won_POL_012 | DEF_E | 0.37262 | 0.38322 | 0.35962 | 0.32168 | 0.41101 | 0.3934 | 0.35606 | 0.4963 | 0.44983 | 0.34591 | 0.35368 | 0.37087 | [28 empty] | distr_wonelc_won_POL_012 | 0.391 | 0.39069 | 0.4081 | 0.31666 | 0.2412 | 0.25552 | 0.20949 | 0.18261 | 0.17073 | 0.36228 | 0.32976 | 0.34904 | distr_wofelc_wof_POL_002 | DEF_C | OUT | 0.62234
distr_wonelc_won_POL_013 | DEF_E | 0.37316 | 0.41391 | 0.37677 | 0.30564 | 0.40216 | 0.38301 | 0.37095 | 0.50607 | 0.48518 | 0.35361 | 0.36593 | 0.35652 | [28 empty] | distr_wonelc_won_POL_013 | 0.37599 | 0.36355 | 0.38775 | 0.32159 | 0.24892 | 0.26162 | 0.20488 | 0.16281 | 0.153 | 0.35325 | 0.31443 | 0.3383 | distr_wofelc_wof_POL_003 | DEF_C | OUT | 0.53961
distr_wonelc_won_POL_014 | DEF_E | 0.35977 | 0.37526 | 0.34208 | 0.31656 | 0.39322 | 0.41059 | 0.35507 | 0.47626 | 0.427 | 0.34745 | 0.36798 | 0.34982 | [28 empty] | distr_wonelc_won_POL_014 | 0.39347 | 0.38341 | 0.41324 | 0.33704 | 0.26414 | 0.26513 | 0.19498 | 0.17462 | 0.17815 | 0.34774 | 0.32049 | 0.36068 | distr_wofelc_wof_POL_004 | DEF_C | OUT | 0.62875
distr_wonelc_won_POL_015 | DEF_E | 0.47964 | 0.50152 | 0.45842 | 0.48204 | 0.47752 | 0.43 | 0.46231 | 0.46786 | 0.36626 | 0.47041 | 0.4873 | 0.45241 | [28 empty] | distr_wonelc_won_POL_015 | 0.18755 | 0.18707 | 0.19755 | 0.10739 | 0.12122 | 0.12979 | 0.03642 | 0.058458 | 0.069403 | 0.12326 | 0.13035 | 0.15292 | distr_wofelc_wof_POL_005 | DEF_C | OUT | 0.62169
distr_wonelc_won_POL_016 | DEF_E | 0.3397 | 0.36121 | 0.33811 | 0.39805 | 0.44894 | 0.38295 | 0.40059 | 0.48084 | 0.37731 | 0.37106 | 0.42301 | 0.3879 | [28 empty] | distr_wonelc_won_POL_016 | 0.45437 | 0.43059 | 0.47157 | 0.28963 | 0.27304 | 0.28816 | 0.13004 | 0.12014 | 0.12077 | 0.35403 | 0.33157 | 0.3443 | distr_wofelc_wof_POL_006 | DEF_C | OUT | 0.61279
distr_wonelc_won_POL_017 | DEF_E | 0.3636 | 0.40047 | 0.36746 | 0.40296 | 0.43978 | 0.36195 | 0.38274 | 0.48456 | 0.40075 | 0.38183 | 0.43543 | 0.39044 | [28 empty] | distr_wonelc_won_POL_017 | 0.31726 | 0.30218 | 0.3299 | 0.23105 | 0.21641 | 0.22306 | 0.11223 | 0.10781 | 0.12395 | 0.2562 | 0.23476 | 0.28531 | distr_wofelc_wof_POL_007 | DEF_C | OUT | 0.51127
distr_wonelc_won_POL_018 | DEF_E | 0.38269 | 0.42226 | 0.39379 | 0.3591 | 0.41301 | 0.38601 | 0.40806 | 0.46694 | 0.39086 | 0.39476 | 0.38256 | 0.37586 | [28 empty] | distr_wonelc_won_POL_018 | 0.31889 | 0.31278 | 0.34311 | 0.2379 | 0.24123 | 0.25127 | 0.13057 | 0.12935 | 0.12535 | 0.26073 | 0.27301 | 0.27868 | distr_wofelc_wof_POL_008 | DEF_C | OUT | 0.64231
distr_wonelc_won_POL_019 | DEF_E | 0.35112 | 0.39215 | 0.33978 | 0.34159 | 0.41775 | 0.36654 | 0.35809 | 0.4925 | 0.44935 | 0.36375 | 0.42582 | 0.35049 | [28 empty] | distr_wonelc_won_POL_019 | 0.36576 | 0.35692 | 0.398 | 0.26838 | 0.21061 | 0.23756 | 0.1369 | 0.11702 | 0.11993 | 0.2811 | 0.25212 | 0.31231 | distr_wofelc_wof_POL_009 | DEF_C | OUT | 0.64207
distr_wonelc_won_POL_020 | DEF_E | 0.36168 | 0.38923 | 0.36931 | 0.34613 | 0.40987 | 0.39456 | 0.38832 | 0.46801 | 0.42742 | 0.3798 | 0.42647 | 0.36121 | [28 empty] | distr_wonelc_won_POL_020 | 0.38801 | 0.37837 | 0.41153 | 0.27333 | 0.23512 | 0.24699 | 0.13565 | 0.12292 | 0.1146 | 0.28948 | 0.27681 | 0.30478 | distr_wofelc_wof_POL_010 | DEF_C | OUT | 0.60516

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
0.11427 | 0.16087 | FaD | elc_roadtransport
0.11427 | 0.052548 | FaN | elc_roadtransport
0.020776 | 0.035897 | FaP | elc_roadtransport
0.11553 | 0.16264 | RaD | elc_roadtransport
0.11553 | 0.053125 | RaN | elc_roadtransport
0.021005 | 0.036291 | RaP | elc_roadtransport
0.11553 | 0.16264 | SaD | elc_roadtransport
0.11553 | 0.053125 | SaN | elc_roadtransport
0.021005 | 0.036291 | SaP | elc_roadtransport
0.11301 | 0.1591 | WaD | elc_roadtransport
0.11301 | 0.05197 | WaN | elc_roadtransport
0.020548 | 0.035502 | WaP | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | FaD | 0.12095
elc_buildings | FaN | 0.09763
elc_buildings | FaP | 0.022871
elc_buildings | RaD | 0.12698
elc_buildings | RaN | 0.10239
elc_buildings | RaP | 0.023808
elc_buildings | SaD | 0.1191
elc_buildings | SaN | 0.092957
elc_buildings | SaP | 0.022587
elc_buildings | WaD | 0.13476
elc_buildings | WaN | 0.11086
elc_buildings | WaP | 0.025102
elc_industry | FaD | 0.11487
elc_industry | FaN | 0.11346
elc_industry | FaP | 0.020939
elc_industry | RaD | 0.11619
elc_industry | RaN | 0.1147
elc_industry | RaP | 0.021169
elc_industry | SaD | 0.11618
elc_industry | SaN | 0.11459
elc_industry | SaP | 0.02118
elc_industry | WaD | 0.11373
elc_industry | WaN | 0.11228
elc_industry | WaP | 0.020714

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | FaD | 0.083292
ELC | FaN | 0.22245
ELC | FaP | 0.048183
ELC | RaD | 0.12553
ELC | RaN | 0.27272
ELC | RaP | 0.097198
ELC | SaD | 0.1322
ELC | SaN | 0.27531
ELC | SaP | 0.075609
ELC | WaD | 0.10085
ELC | WaN | 0.21438
ELC | WaP | 0.059151

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | F | 0.1911 | hydro
2020 | R | 0.17525 | hydro
2020 | S | 0.1946 | hydro
2020 | W | 0.1928 | hydro
2021 | F | 0.18891 | hydro
2021 | R | 0.2896 | hydro
2021 | S | 0.17736 | hydro
2021 | W | 0.20653 | hydro
2022 | F | 0.13532 | hydro
2022 | R | 0.23148 | hydro
2022 | S | 0.12039 | hydro
2022 | W | 0.23838 | hydro
2025 | F | 0.16193 | hydro
2025 | R | 0.2383 | hydro
2025 | S | 0.14673 | hydro
2025 | W | 0.2315 | hydro
2026 | F | 0.1674 | hydro
2026 | R | 0.24223 | hydro
2026 | S | 0.153 | hydro
2026 | W | 0.21083 | hydro
2027 | F | 0.17187 | hydro
2027 | R | 0.24817 | hydro
2027 | S | 0.14873 | hydro
2027 | W | 0.24223 | hydro
2028 | F | 0.1418 | hydro
2028 | R | 0.20677 | hydro
2028 | S | 0.12963 | hydro
2028 | W | 0.20207 | hydro
2029 | F | 0.1318 | hydro
2029 | R | 0.22177 | hydro
2029 | S | 0.13127 | hydro
2029 | W | 0.1937 | hydro
2030 | F | 0.1425 | hydro
2030 | R | 0.20967 | hydro
2030 | S | 0.12217 | hydro
2030 | W | 0.20263 | hydro
2031 | F | 0.13183 | hydro
2031 | R | 0.2084 | hydro
2031 | S | 0.127 | hydro
2031 | W | 0.191 | hydro
2032 | F | 0.14177 | hydro
2032 | R | 0.2065 | hydro
2032 | S | 0.1303 | hydro
2032 | W | 0.2034 | hydro
2033 | F | 0.18843 | hydro
2033 | R | 0.30043 | hydro
2033 | S | 0.17813 | hydro
2033 | W | 0.26987 | hydro
2034 | F | 0.184 | hydro
2034 | R | 0.28463 | hydro
2034 | S | 0.16867 | hydro
2034 | W | 0.2414 | hydro
2035 | F | 0.17983 | hydro
2035 | R | 0.28187 | hydro
2035 | S | 0.1683 | hydro
2035 | W | 0.25867 | hydro
2036 | F | 0.18997 | hydro
2036 | R | 0.3052 | hydro
2036 | S | 0.169 | hydro
2036 | W | 0.24667 | hydro
2037 | F | 0.1988 | hydro
2037 | R | 0.28877 | hydro
2037 | S | 0.17 | hydro
2037 | W | 0.2594 | hydro
2038 | F | 0.18347 | hydro
2038 | R | 0.27763 | hydro
2038 | S | 0.17177 | hydro
2038 | W | 0.2746 | hydro
2039 | F | 0.1712 | hydro
2039 | R | 0.24663 | hydro
2039 | S | 0.15043 | hydro
2039 | W | 0.23577 | hydro
2040 | F | 0.17123 | hydro
2040 | R | 0.24587 | hydro
2040 | S | 0.14873 | hydro
2040 | W | 0.22437 | hydro
2041 | F | 0.1647 | hydro
2041 | R | 0.25883 | hydro
2041 | S | 0.15067 | hydro
2041 | W | 0.2292 | hydro
2042 | F | 0.1742 | hydro
2042 | R | 0.27343 | hydro
2042 | S | 0.17647 | hydro
2042 | W | 0.2578 | hydro
2043 | F | 0.18597 | hydro
2043 | R | 0.2832 | hydro
2043 | S | 0.17397 | hydro
2043 | W | 0.2663 | hydro
2044 | F | 0.19473 | hydro
2044 | R | 0.28893 | hydro
2044 | S | 0.17733 | hydro
2044 | W | 0.26203 | hydro
2045 | F | 0.1387 | hydro
2045 | R | 0.2086 | hydro
2045 | S | 0.12883 | hydro
2045 | W | 0.19557 | hydro
2046 | F | 0.13133 | hydro
2046 | R | 0.2114 | hydro
2046 | S | 0.13187 | hydro
2046 | W | 0.19033 | hydro
2047 | F | 0.16767 | hydro
2047 | R | 0.2587 | hydro
2047 | S | 0.1474 | hydro
2047 | W | 0.2268 | hydro
2048 | F | 0.161 | hydro
2048 | R | 0.25863 | hydro
2048 | S | 0.15127 | hydro
2048 | W | 0.22897 | hydro
2049 | F | 0.1527 | hydro
2049 | R | 0.23553 | hydro
2049 | S | 0.1503 | hydro
2049 | W | 0.2243 | hydro
2050 | F | 0.16237 | hydro
2050 | R | 0.2458 | hydro
2050 | S | 0.13863 | hydro
2050 | W | 0.2269 | hydro