## ev_charging_uc
ts_annual | day_night | ts_annual
| D | AllSaAllH
| N | AllSaAllH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_annual | season | weekly | daynite | wparent | dparent
| AllS | a | AllH | AllS | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_POL_001 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_001 | AllSaAllH | 1 | IMPNRGZ | elc_wof_POL_001 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_002 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_002 | AllSaAllH | 1 | IMPNRGZ | elc_wof_POL_002 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_003 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_003 | AllSaAllH | 1 | IMPNRGZ | elc_wof_POL_003 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_004 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_004 | AllSaAllH | 1 | IMPNRGZ | elc_wof_POL_004 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_005 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_005 | AllSaAllH | 1 | IMPNRGZ | elc_wof_POL_005 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_006 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_006 | AllSaAllH | 1 | IMPNRGZ | elc_wof_POL_006 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_007 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_007 | AllSaAllH | 1 | IMPNRGZ | elc_wof_POL_007 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_008 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_008 | AllSaAllH | 1 | IMPNRGZ | elc_wof_POL_008 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_009 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_009 | AllSaAllH | 1 | IMPNRGZ | elc_wof_POL_009 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_010 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_010 | AllSaAllH | 1 | IMPNRGZ | elc_wof_POL_010 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_011 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_011 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_012 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_012 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_013 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_013 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_014 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_014 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_015 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_015 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_016 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_016 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_017 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_017 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_018 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_018 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_019 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_019 | AllSaAllH | 1 | IMPNRGZ
elc_spv_POL_020 | AllSaAllH | 1 | IMPNRGZ | elc_won_POL_020 | AllSaAllH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_DINS-AT
process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | AllSaAllH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_POL_001 | DEF_E | 0.59168 | distr_sol* | ELC4H | 0.1506 | distr_sol* | ELC8H | 0.1926 | distr_solelc_spv_POL_001 | 0.13341 | distr_solelc_spv_POL_001 | DEF_C | OUT | 0.13341
distr_solelc_spv_POL_002 | DEF_E | 0.58221 | distr_won* | ELC4H | 0.0065541 | distr_won* | ELC8H | 0.018264 | distr_solelc_spv_POL_002 | 0.13927 | distr_solelc_spv_POL_002 | DEF_C | OUT | 0.13927
distr_solelc_spv_POL_003 | DEF_E | 0.58502 | distr_wof* | ELC4H | 0.0089437 | distr_wof* | ELC8H | 0.020953 | distr_solelc_spv_POL_003 | 0.13604 | distr_solelc_spv_POL_003 | DEF_C | OUT | 0.13604
distr_solelc_spv_POL_004 | DEF_E | 0.59903 | [6 empty] | distr_solelc_spv_POL_004 | 0.1358 | distr_solelc_spv_POL_004 | DEF_C | OUT | 0.1358
distr_solelc_spv_POL_005 | DEF_E | 0.59551 | [6 empty] | distr_solelc_spv_POL_005 | 0.13767 | distr_solelc_spv_POL_005 | DEF_C | OUT | 0.13767
distr_solelc_spv_POL_006 | DEF_E | 0.59542 | [6 empty] | distr_solelc_spv_POL_006 | 0.14006 | distr_solelc_spv_POL_006 | DEF_C | OUT | 0.14006
distr_solelc_spv_POL_007 | DEF_E | 0.59476 | [6 empty] | distr_solelc_spv_POL_007 | 0.1446 | distr_solelc_spv_POL_007 | DEF_C | OUT | 0.1446
distr_solelc_spv_POL_008 | DEF_E | 0.59517 | [6 empty] | distr_solelc_spv_POL_008 | 0.14327 | distr_solelc_spv_POL_008 | DEF_C | OUT | 0.14327
distr_solelc_spv_POL_009 | DEF_E | 0.58951 | [6 empty] | distr_solelc_spv_POL_009 | 0.13939 | distr_solelc_spv_POL_009 | DEF_C | OUT | 0.13939
distr_solelc_spv_POL_010 | DEF_E | 0.60287 | [6 empty] | distr_solelc_spv_POL_010 | 0.13724 | distr_solelc_spv_POL_010 | DEF_C | OUT | 0.13724
distr_solelc_spv_POL_011 | DEF_E | 0.59518 | [6 empty] | distr_solelc_spv_POL_011 | 0.1384 | distr_solelc_spv_POL_011 | DEF_C | OUT | 0.1384
distr_solelc_spv_POL_012 | DEF_E | 0.58533 | [6 empty] | distr_solelc_spv_POL_012 | 0.14367 | distr_solelc_spv_POL_012 | DEF_C | OUT | 0.14367
distr_solelc_spv_POL_013 | DEF_E | 0.58441 | [6 empty] | distr_solelc_spv_POL_013 | 0.14289 | distr_solelc_spv_POL_013 | DEF_C | OUT | 0.14289
distr_solelc_spv_POL_014 | DEF_E | 0.58124 | [6 empty] | distr_solelc_spv_POL_014 | 0.14189 | distr_solelc_spv_POL_014 | DEF_C | OUT | 0.14189
distr_solelc_spv_POL_015 | DEF_E | 0.58194 | [6 empty] | distr_solelc_spv_POL_015 | 0.13989 | distr_solelc_spv_POL_015 | DEF_C | OUT | 0.13989
distr_solelc_spv_POL_016 | DEF_E | 0.59 | [6 empty] | distr_solelc_spv_POL_016 | 0.13822 | distr_solelc_spv_POL_016 | DEF_C | OUT | 0.13822
distr_solelc_spv_POL_017 | DEF_E | 0.59599 | [6 empty] | distr_solelc_spv_POL_017 | 0.13833 | distr_solelc_spv_POL_017 | DEF_C | OUT | 0.13833
distr_solelc_spv_POL_018 | DEF_E | 0.59361 | [6 empty] | distr_solelc_spv_POL_018 | 0.13837 | distr_solelc_spv_POL_018 | DEF_C | OUT | 0.13837
distr_solelc_spv_POL_019 | DEF_E | 0.5882 | [6 empty] | distr_solelc_spv_POL_019 | 0.13804 | distr_solelc_spv_POL_019 | DEF_C | OUT | 0.13804
distr_solelc_spv_POL_020 | DEF_E | 0.58897 | [6 empty] | distr_solelc_spv_POL_020 | 0.13832 | distr_solelc_spv_POL_020 | DEF_C | OUT | 0.13832
distr_wofelc_wof_POL_001 | DEF_E | 0.39859 | [6 empty] | distr_wofelc_wof_POL_001 | 0.29504 | distr_wonelc_won_POL_001 | DEF_C | OUT | 0.2928
distr_wofelc_wof_POL_002 | DEF_E | 0.34906 | [6 empty] | distr_wofelc_wof_POL_002 | 0.47859 | distr_wonelc_won_POL_002 | DEF_C | OUT | 0.27575
distr_wofelc_wof_POL_003 | DEF_E | 0.3706 | [6 empty] | distr_wofelc_wof_POL_003 | 0.39612 | distr_wonelc_won_POL_003 | DEF_C | OUT | 0.29874
distr_wofelc_wof_POL_004 | DEF_E | 0.336 | [6 empty] | distr_wofelc_wof_POL_004 | 0.51419 | distr_wonelc_won_POL_004 | DEF_C | OUT | 0.31449
distr_wofelc_wof_POL_005 | DEF_E | 0.34348 | [6 empty] | distr_wofelc_wof_POL_005 | 0.50447 | distr_wonelc_won_POL_005 | DEF_C | OUT | 0.31397
distr_wofelc_wof_POL_006 | DEF_E | 0.34587 | [6 empty] | distr_wofelc_wof_POL_006 | 0.47983 | distr_wonelc_won_POL_006 | DEF_C | OUT | 0.31264
distr_wofelc_wof_POL_007 | DEF_E | 0.36639 | [6 empty] | distr_wofelc_wof_POL_007 | 0.37997 | distr_wonelc_won_POL_007 | DEF_C | OUT | 0.31867
distr_wofelc_wof_POL_008 | DEF_E | 0.34258 | [6 empty] | distr_wofelc_wof_POL_008 | 0.50021 | distr_wonelc_won_POL_008 | DEF_C | OUT | 0.31012
distr_wofelc_wof_POL_009 | DEF_E | 0.33598 | [6 empty] | distr_wofelc_wof_POL_009 | 0.50993 | distr_wonelc_won_POL_009 | DEF_C | OUT | 0.33379
distr_wofelc_wof_POL_010 | DEF_E | 0.35512 | [6 empty] | distr_wofelc_wof_POL_010 | 0.46231 | distr_wonelc_won_POL_010 | DEF_C | OUT | 0.36861
distr_wonelc_won_POL_001 | DEF_E | 0.39481 | [6 empty] | distr_wonelc_won_POL_001 | 0.2928 | distr_wonelc_won_POL_011 | DEF_C | OUT | 0.26076
distr_wonelc_won_POL_002 | DEF_E | 0.40093 | [6 empty] | distr_wonelc_won_POL_002 | 0.27575 | distr_wonelc_won_POL_012 | DEF_C | OUT | 0.30176
distr_wonelc_won_POL_003 | DEF_E | 0.40059 | [6 empty] | distr_wonelc_won_POL_003 | 0.29874 | distr_wonelc_won_POL_013 | DEF_C | OUT | 0.29197
distr_wonelc_won_POL_004 | DEF_E | 0.38934 | [6 empty] | distr_wonelc_won_POL_004 | 0.31449 | distr_wonelc_won_POL_014 | DEF_C | OUT | 0.3016
distr_wonelc_won_POL_005 | DEF_E | 0.3819 | [6 empty] | distr_wonelc_won_POL_005 | 0.31397 | distr_wonelc_won_POL_015 | DEF_C | OUT | 0.12011
distr_wonelc_won_POL_006 | DEF_E | 0.38265 | [6 empty] | distr_wonelc_won_POL_006 | 0.31264 | distr_wonelc_won_POL_016 | DEF_C | OUT | 0.29769
distr_wonelc_won_POL_007 | DEF_E | 0.38751 | [6 empty] | distr_wonelc_won_POL_007 | 0.31867 | distr_wonelc_won_POL_017 | DEF_C | OUT | 0.22322
distr_wonelc_won_POL_008 | DEF_E | 0.39231 | [6 empty] | distr_wonelc_won_POL_008 | 0.31012 | distr_wonelc_won_POL_018 | DEF_C | OUT | 0.23851
distr_wonelc_won_POL_009 | DEF_E | 0.38855 | [6 empty] | distr_wonelc_won_POL_009 | 0.33379 | distr_wonelc_won_POL_019 | DEF_C | OUT | 0.24945
distr_wonelc_won_POL_010 | DEF_E | 0.36045 | [6 empty] | distr_wonelc_won_POL_010 | 0.36861 | distr_wonelc_won_POL_020 | DEF_C | OUT | 0.26231
distr_wonelc_won_POL_011 | DEF_E | 0.41577 | [6 empty] | distr_wonelc_won_POL_011 | 0.26076 | distr_wofelc_wof_POL_001 | DEF_C | OUT | 0.29504
distr_wonelc_won_POL_012 | DEF_E | 0.38987 | [6 empty] | distr_wonelc_won_POL_012 | 0.30176 | distr_wofelc_wof_POL_002 | DEF_C | OUT | 0.47859
distr_wonelc_won_POL_013 | DEF_E | 0.39616 | [6 empty] | distr_wonelc_won_POL_013 | 0.29197 | distr_wofelc_wof_POL_003 | DEF_C | OUT | 0.39612
distr_wonelc_won_POL_014 | DEF_E | 0.38542 | [6 empty] | distr_wonelc_won_POL_014 | 0.3016 | distr_wofelc_wof_POL_004 | DEF_C | OUT | 0.51419
distr_wonelc_won_POL_015 | DEF_E | 0.503 | [6 empty] | distr_wonelc_won_POL_015 | 0.12011 | distr_wofelc_wof_POL_005 | DEF_C | OUT | 0.50447
distr_wonelc_won_POL_016 | DEF_E | 0.42806 | [6 empty] | distr_wonelc_won_POL_016 | 0.29769 | distr_wofelc_wof_POL_006 | DEF_C | OUT | 0.47983
distr_wonelc_won_POL_017 | DEF_E | 0.42601 | [6 empty] | distr_wonelc_won_POL_017 | 0.22322 | distr_wofelc_wof_POL_007 | DEF_C | OUT | 0.37997
distr_wonelc_won_POL_018 | DEF_E | 0.41967 | [6 empty] | distr_wonelc_won_POL_018 | 0.23851 | distr_wofelc_wof_POL_008 | DEF_C | OUT | 0.50021
distr_wonelc_won_POL_019 | DEF_E | 0.41336 | [6 empty] | distr_wonelc_won_POL_019 | 0.24945 | distr_wofelc_wof_POL_009 | DEF_C | OUT | 0.50993
distr_wonelc_won_POL_020 | DEF_E | 0.41957 | [6 empty] | distr_wonelc_won_POL_020 | 0.26231 | distr_wofelc_wof_POL_010 | DEF_C | OUT | 0.46231

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
1 | 1 | AllSaAllH | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | AllSaAllH | 1
elc_industry | AllSaAllH | 1

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | AllSaAllH | 0.22677

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | AllS | 0.18844 | hydro
2021 | AllS | 0.2156 | hydro
2022 | AllS | 0.18139 | hydro
2025 | AllS | 0.19462 | hydro
2026 | AllS | 0.19337 | hydro
2027 | AllS | 0.20275 | hydro
2028 | AllS | 0.17007 | hydro
2029 | AllS | 0.16963 | hydro
2030 | AllS | 0.16924 | hydro
2031 | AllS | 0.16456 | hydro
2032 | AllS | 0.17049 | hydro
2033 | AllS | 0.23422 | hydro
2034 | AllS | 0.21968 | hydro
2035 | AllS | 0.22217 | hydro
2036 | AllS | 0.22771 | hydro
2037 | AllS | 0.22924 | hydro
2038 | AllS | 0.22687 | hydro
2039 | AllS | 0.20101 | hydro
2040 | AllS | 0.19755 | hydro
2041 | AllS | 0.20085 | hydro
2042 | AllS | 0.22048 | hydro
2043 | AllS | 0.22736 | hydro
2044 | AllS | 0.23076 | hydro
2045 | AllS | 0.16792 | hydro
2046 | AllS | 0.16623 | hydro
2047 | AllS | 0.20014 | hydro
2048 | AllS | 0.19997 | hydro
2049 | AllS | 0.19071 | hydro
2050 | AllS | 0.19342 | hydro